## Page 1-Customer Info
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation
Page 1: General Customer and Project Information
Approval code:
The Electric Efficiency Program provides incentives for a wide variety of efficiency measures. Prescriptive incentives are provided for measures such as improved insulation, efficient windows, cooling and refrigeration efficiency, variable frequency drives, and ENERGY STAR rated kitchen equipment. Custom incentives are also available for projects that are demonstrably more efficient than current energy codes or standard practice.
Participant Acknowledgement of Terms and Conditions
By submitting this application, I hereby acknowledge that I have read, understand and agree to be bound by all requirements, terms, and conditions of the Electric Efficiency Program including, but not limited to, the Terms and Conditions set forth on page 11, Request for Payment Form.
Project Eligibility
A project is eligible for Electric Efficiency Program funding if:
· The project is a commercial building served by one of the four following electric utilities: Town of Estes Park Light & Power Department (970-577-3583), Fort Collins Utilities (970-221-6700), Longmont Power & Communications (303-651-8386), Loveland Water & Power (970-962-3000).
· Other terms and conditions apply as stated on page 10, Request for Payment Form.
Steps to Participate
1. Contact a vendor, contractor, consultant, engineer, or Platte River Energy Services for help with this application if needed.
2. Complete page 1 and the appropriate worksheets on pages 2 through 10 that apply to your project to determine the potential incentive amount. The total incentive amounts are then summarized on page 11.
a. Any projects that show a total incentive over $1,000 or include custom incentives (from page 10) require pre-approval, as described in step 3.
b. For any other projects, pre-approval is optional. You may proceed to either step 3 or 4, depending on your confidence that you have met the program requirements.
c. Total potential incentive listed on Page 11 must be a minimum of $50 to qualify.
3. To receive pre-approval, submit this unsigned application to Platte River Energy Services*. This may be done via email, fax, or mail. Platte River Energy Services will review the application, and if approved, issue you an approval code.
4. Complete the project. Remember to keep proof of installation as specified on each measure incentive worksheet.
5. Resubmit the entire completed application along with all required documentation to Platte River with the appropriate signatures (page 11). Due to the signature requirement, this must be done in hard copy, but can be mailed, faxed, or scanned and emailed.
6. Receive the incentive check typically in four to six weeks*.
*Platte River Energy Services may request a site visit at any time to confirm the accuracy of the application and reserves the right to determine the final eligibility and incentive amount for all projects.
Project site utility customer: |  |  |  |  | Party completing form (if different from company at left):
Company: |  |  |  |  | Company:
Site Address: |  |  |  |  | Address:
City, state, zip: |  |  |  |  | City, state, zip:
Contact person: |  |  |  |  | Contact person:
Mailing address: (if different) |  |  |  |  | Mailing address: (if different)
City, state, zip: |  |  |  |  | City, state, zip:
Telephone: |  |  | Fax: |  | Telephone: |  |  | Fax:
Email: |  |  |  |  | Email:
How did you hear about EEP? |  | 1 |  |  | Submitting LIGHTENUP Application as well?
Project Site
Serving electric utility: |  | Fort Collins Utilities |  |  | Facility Info.: | Facility Type:
Site must receive electricity from a listed utility to be eligible for this program | [5 empty] | Other (describe)
Customer account or meter #: |  |  |  |  | Year Built: |  | Year Remodeled?
Rate Schedule (optional) |  |  |  |  | Building (sq ft): |  | Project (sq ft):
Operating Hours (description) |  |  |  |  | Project Type:
Estimated Project Schedule
Start date: |  |  |  |  | Completion date*:
* Incentive funds will be reserved for no more than 45 days beyond completion date.
Incentive fund availability and incentive rates are subject to change without notice. Contact Platte River Energy Services to ensure that you have the most recent application and that funds are available.
Contact Information
For questions or to submit an application for approval or payment, please contact Platte River Energy Services: | [6 empty] | Please be sure to direct all correspondence to Energy Services.
Platte River Power Authority |  |  | Phone: | 970-226-4000
2000 E Horsetooth Rd |  |  | Fax: | 970-229-5244
Fort Collins, CO 80525-5721 |  |  | Email: | electricefficiency@prpa.org |  |  |  | rev | 2012-08-02
Select your local utility |  |  |  | Select your facility type |  | Select your project type |  |  | Select your ownership/tenant plan |  |  | Please select electric rate
Fort Collins Utilities |  |  |  | Educational |  | New construction |  |  | Owner occupied |  |  | Estes Park - Large Commercial
Longmont Power & Communications |  |  |  | Grocery |  | Major remodel |  |  | Build to lease |  |  | Estes Park - Small Commercial
Loveland Water and Power |  |  |  | Health Care |  | Replace/upgrade building systems |  |  | Build to sell |  |  | Estes Park - Municipal
Town of Estes Park |  |  |  | Hotel/Motel |  |  |  |  | Government |  |  | Fort Collins - E400 series
|  |  |  | Industrial | [7 empty] | Fort Collins - E300 series
|  |  |  | Office | [7 empty] | Fort Collins - E200 series (<2000 kWh/mo)
|  |  |  | Outdoor | [7 empty] | Fort Collins - E200 series (<7000 kWh/mo, <25 kW)
|  |  |  | Restaurant | [7 empty] | Fort Collins - E200 series (<7000 kWh/mo, >25 kW)
|  |  |  | Retail | [7 empty] | Fort Collins - E200 series (>7000 kWh/mo, <25 kW)
|  |  |  | School | [7 empty] | Fort Collins - E200 series (>7000 kWh/mo, >25 kW)
|  |  |  | Warehouse/Storage | [7 empty] | Longmont - CCD
|  |  |  | Other | [7 empty] | Longmont - CD
Longmont - CE
Longmont - GFE (municipal energy)
Longmont - GFD (municipal demand)
Loveland - PS
Loveland - LG
Loveland - SG
other (enter rates below)
Hours |  |  | Hours/yr | Average | Town of Estes Park | Fort Collins Utilities | Longmont Power & Communications |  | Loveland Water and Power
8,760 h/yr | high energy, low demand |  | 8760 | 0.05 | 0.059186 | 0.051879 | 0.04574 |  | 0.05216
5,616 h/yr (6a-midnight, 6 days/wk) | mostly energy, some demand |  | 5616 | 0.064 | 0.07 | 0.069 | 0.0589 |  | 0.06265
3,068 h/yr (7a-6p, 5 day/wk + 4 h/day Sat) | some energy and demand |  | 3068 | 0.078 | 0.08591 | 0.07784 | 0.07769 |  | 0.078
2,080 h/yr (8a-4p, 5 day/wk) | high demand, low energy or energy only rate |  | 2080 | 0.077 | 0.098 | 0.069 | 0.081 |  | 0.0819
Updates needed:
2012-03-07 | Make sure each page has totals for annual energy savings and annual demand reduction.
Results summary
Approval code | Customer name | City |  | CoolEff kWh | CoolingEff kW | CoolingEff $Savings | Env kWh | Env kW | Env $Savings | FoodServ kWh | FoodServ kW | FoodServ $Savings | Grocery kWh | Grocery kW | Grocery $Savings | IT&Office kWh excl ThinClient | IT&Office kW excl ThinClient | IT&Office $Savings excl ThinClient | ThinClient kWh | ThinClient kW | ThinClient $Savings | VFD kWh | VFD kW | VFD $Savings | Custom kWh | Custom kW | Custom $Savings | Total rebate | Total cost
0 | 0 | Fort Collins Utilities |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
An approval code is required prior to starting work if the incentive is expected to exceed $1,000.
Applications must be submitted to Platte River Energy Services for pre-approval.

## Page 2-Lighting
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | [6 empty] | Approval code:
Page 2: Lighting Incentive Worksheet | [6 empty] | Participating company:
To be eligible to participate, all new T8 electronic ballasts must be "high efficiency" and meet or exceed the Ballast Efficacy Factor as described for ballasts in the CEE High Performance T8 specification.
Efficient Lighting Incentive Instructions
1. Lighting retrofits in existing buildings where no significant building renovation is being performed should refer to the LIGHTENUP Program Application:
http://www.prpa.org/productservices/lightenup.htm
2. The proposed lighting power density (LPD, W/sq ft) must be at least 5% lower than the ASHRAE Lighting LPD (90.1 - 2010 Building Area Method) design
requirement listed in the Lighting Incentive Worksheet below.
3. Space by Space Method is allowed but the applicant must use the Custom Rebate Method application on page 10.
4. To be eligible to participate, all T8 electronic ballasts must be "high efficiency" and meet or exceed the Ballast Efficacy Factor as described for ballasts
in the CEE High Performance T8 specification. Customer may not apply for incentives for installing screw in compact fluorescent lamps in fixtures.
Incentives are provided only for hardwired compact fluorescent fixtures.
Enter Annual Lighting Hours |  |  |  |  | Estimated Annual Energy & Cost Savings |  |  |  | 0 | 0
Lighting Incentive Worksheet for Building Area Method designs
|  | Proposed Lighting |  | ASHRAE Lighting |  | Reductions |  |  | Daylighting Controls
Space Typea | Area (sq ft)b | Power (W) | LPD (W/sq ft) | Power (W) | LPD (W/sq ft)c | Power (W) | LPD (W/sq ft) | Incentive | Area (sq ft)d | Incentive
[8 empty] | 0 |  | 0
[8 empty] | 0 |  | 0
[8 empty] | 0 |  | 0
[8 empty] | 0 |  | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
a. Enter as few spaces as possible that adequately describes the facility. See Table 1 below for a complete list of space types.
b. Make sure that the entire building area is accounted for.
c. ASHRAE Lighting Power Density (LPD) determined from Table 1 below.
d. Area is the floor area served by lighting that is completely controlled by photo sensors.
Table 1: ASHRAE 90.1 - 2010 Lighting Power Densities Using the Building Area Method (Taken from Table 9.5.1 of the ASHRAE standard.)
Building Area Typee | (W/ft2) | Building Area Typee |  |  | (W/ft2) | Building Area Typee |  |  | (W/ft2)
Automotive Facility | 0.82 | Hospital |  |  | 1.21 | Performing Arts Theater |  |  | 1.39
Convention Center | 1.08 | Hotel |  |  | 1 | Police Station |  |  | 0.96
Court House | 1.05 | Library |  |  | 1.18 | Post Office |  |  | 0.87
Dining: Bar Lounge/Leisure | 0.99 | Manufacturing Facility |  |  | 1.11 | Religious Building |  |  | 1.05
Dining: Cafeteria/Fast Food | 0.9 | Motel |  |  | 0.88 | Retail |  |  | 1.4
Dining: Family | 0.89 | Motion Picture Theater |  |  | 0.83 | School/University |  |  | 0.99
Dormitory | 0.61 | Multifamily |  |  | 0.6 | Sports Arena |  |  | 0.78
Exercise Center | 0.88 | Museum |  |  | 1.06 | Town Hall |  |  | 0.92
Fire Station | 0.71 | Office |  |  | 0.9 | Transportation |  |  | 0.77 |  |  | Actual | Calculated with constants
Gymnasium | 1 | Parking Garage |  |  | 0.25 | Warehouse |  |  | 0.66 |  | H/yr | $/kWh | $/kWh
Health Care-Clinic | 0.87 | Penitentiary |  |  | 0.97 | Workshop |  |  | 1.2 |  | 2000 | 0.07 | 0.070064
[11 empty] | 3000 | 0.065 | 0.065324
e. In cases where both general building area type and a specific building area type are listed, the specific building area type shall apply. | [10 empty] | 4000 | 0.062 | 0.061036
[11 empty] | 5000 | 0.057 | 0.0572
Table 2: Minimum Ballast Efficacy Factors (BEFs) for Four-Foot Fluorescent Ballasts | [10 empty] | 6000 | 0.054 | 0.053816
# lamps per | low ballast factor |  | medium ballast factor |  | high ballast factor | [5 empty] | 7000 | 0.05 | 0.050884
ballast | (BF <= 0.85) |  | (0.85 < BF <= 1.0) |  | (BF > 1.0) | [5 empty] | 8000 | 0.049 | 0.048404
Instant-Start Ballasts
1 | 3.08 |  | 3.11 |  | 3.03
2 | 1.6 |  | 1.58 |  | 1.55
3 | 1.04 |  | 1.05 |  | 1.04
4 | 0.79 |  | 0.8 |  | 0.77
6 | n/a |  | n/a |  | 0.52
Programmed Rapid-Start Ballasts
1 | 2.84 |  | 2.84 |  | 2.95
2 | 1.48 |  | 1.47 |  | 1.51
3 | 0.97 |  | 1 |  | 1 |  |  | BEF = (BF x 100) / ballast input watts
4 | 0.76 |  | 0.75 |  | 0.75 |  |  | BF = ballast factor
6 | n/a |  | n/a |  | 0.5
ASHRAE 90.1 - 2010 |  |  |  | Daylighting Controls
TABLE 9.5.1 Lighting Power Densities |  |  |  | Daylighting rebate ($/W) |  |  | 0.5
Using the Building Area Method |  |  |  | Daylighting wattage reduction |  |  | 25%
Lighting Power Density |  |  |  | Maximum hour reduction (h/yr) |  |  | 1000
Energy and Energy Cost Savings
Building Area Typea | (W/ft2) |  |  |  |  | Daylight |  | Daylight
Automotive Facility | 0.82 |  |  |  |  | Controls | LPD | Controls | LPD
Convention Center | 1.08 |  |  |  |  | Savings | Savings | Cost Savings | Cost Savings
Court House | 1.05 |  |  | Space Type |  | (kWh/yr) | (kWh/yr) | ($/yr) | ($/yr)
Dining: Bar Lounge/Leisure | 0.99 |  |  |  |  | 0 | 0 | 0 | 0
Dining: Cafeteria/Fast Food | 0.9 |  |  |  |  | 0 | 0 | 0 | 0
Dining: Family | 0.89 |  |  |  |  | 0 | 0 | 0 | 0
Dormitory | 0.61 |  |  |  |  | 0 | 0 | 0 | 0
Exercise Center | 0.88 |  |  | TOTALS |  | 0 | 0 | 0 | 0
Fire Station | 0.71
Gymnasium | 1
Health Care-Clinic | 0.87
Hospital | 1.21
Hotel | 1
Library | 1.18
Manufacturing Facility | 1.11
Motel | 0.88
Motion Picture Theater | 0.83
Multifamily | 0.6
Museum | 1.06
Office | 0.9
Parking Garage | 0.25
Penitentiary | 0.97
Performing Arts Theater | 1.39
Police Station | 0.96
Post Office | 0.87
Religious Building | 1.05
Retail | 1.4
School/University | 0.99
Sports Arena | 0.78
Town Hall | 0.92
Transportation | 0.77
Warehouse | 0.66
Workshop | 1.2
a In cases where both general building area
type and a specific building area type are
listed, the specific building area type shall apply.
Note on G84: Assumes daylighting controls reduce lighting hours 25%, up to 1,000 hour per year max.
Note on H77: Limits daylighting energy savings in the event that the lighting annual hours are longer than 4000 h/yr.
Note: These specifications were developed by the Consortium for Energy Efficiency (CEE) for use in voluntary energy-efficiency programs and are used with their permission. CEE's high-efficiency specifications are periodically revised. For the most current version, please see the CEE Web site (http://www.cee1.org/com/com-lt/com-lt-specs.pdf).
HIGH EFFICIENCY ELECTRONIC BALLASTS ARE REQUIRED FOR ALL T8 FLUORESCENT INSTALLATIONS

## Page 3-Cooling Efficiency
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | [12 empty] | Approval code:
Page 3: Cooling Efficiency Incentive Worksheet | [12 empty] | Participating company:
Prescriptive incentives are available for cooling efficiency upgrades for certain sizes and types of cooling equipment. Custom incentives for other types and sizes may also be available. The prescriptive requirements and incentives are described below. Incentives can be determined for your project in the subsequent section.
Cooling Efficiency Requirements & Incentives
High-Efficiency Incentives
[5 empty] | Minimum Qualifying Efficiencies & Incentives |  |  |  |  | Incremental
Equipment Type and Cooling Capacity (tons) |  | (Btu/h) |  |  | Peak Efficiency |  | Seasonal or Part-Load Efficiency |  | Base Incentive ($/ton) | Increment |  | Incre-mental Incentive ($/ton)
Split/Unitary Cooling Equipment
<5.4 tons, split system |  | <65,000 Btu/h |  |  | 12.5 | EER | 15 | SEER | 100 | 0.1 | SEER | 5
<5.4 tons, unitary |  | <65,000 Btu/h |  |  | 12 | EER | 15 | SEER | 100 | 0.1 | SEER | 5
5.5 - 11.2 tons |  | 65,000 - 134,999 Btu/h |  |  | 12 | EER | 13.8 | IEER | 150 | 0.1 | IEER | 5
11.3 - 19.9 tons |  | 135,000 - 239,999 Btu/h |  |  | 12 | EER | 13 | IEER | 150 | 0.1 | IEER | 5
20 - 63.3 tons |  | 240,000 - 759,999 Btu/h |  |  | 10.6 | EER | 12.1 | IEER | 150 | 0.1 | IEER | 5
Packaged Terminal Air Conditioning (PTAC) Equipment
<4.2 tons, PTAC |  | <50,000 Btu/h |  |  | 11 | EER | n/a |  | 50 | 0.1 | EER | 5
Economizer Incentive
Measure Description | [10 empty] | Incentive ($/unit)
Add an economizer to either an existing unit or to a replacement high-efficiency unit where an economizer previously did not exist. Available only for units with less than 54,000 Btu/h cooling capacity. | [10 empty] | 250
PTAC/PTHP Controls Incentive
Measure Description | [6 empty] | Incentive ($/unit)
Motion Sensor or Card Lock control with setback capabilities | [6 empty] | 75
Custom incentives may be available for other cooling efficiency upgrades not shown here. Contact Platte River Energy Services or your utility representative for more information.
Additional requirements:
Incentives may vary based on your local electric provider. You must select your electric utility on Page 1 of this application for incentives to be shown.
Equipment must meet or exceed both peak and seasonal/part-load minimum efficiency values.
New HVAC equipment must be commissioned per Air Conditioning Contractors of American Standard 5--HVAC Quality Installation Specification. A commissioning form must be submitted for each unit to document the commissioning results.
Required documentation:
A completed and signed commissioning form for each new HVAC unit installed. A commissioning form can be downloaded from
http://www.select-hvac.com/i/commissioningform.pdf
A dated invoice showing all equipment listed in this application, including make, model numbers, and quantities.
Incentive Calculator
Descriptions of the data required in each column can be found just below the table.
Item # | Efficiency Measure Type |  | Equipment Manufacturer & Model Number |  |  | Equipment Type and Cooling Capacity |  | Cooling Capacity (tons) | Peak Efficiency (EER) |  | Seasonal/Part-Load Efficiency (SEER/IEER) |  | Quantity | Total Potential Incentive | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr) | Peak Efficiency | Seasonal or Part-Load Efficiency | Eligible for Efficiency Incentive? | Base Incentive ($/ton) | Incre-mental Incentive ($/ton) | Increment | High-Eff Energy Savings (kWh/ton) | High-Eff Demand Savings (kW/ton) | New unit economizer savings kWh/ton) | Total Base+Incr Incentive ($/unit) | Economizer rebate ($/unit) | PTAC/HP Controls Incentive ($/unit) | Total Energy Savings (kWh/yr) | Total Demand Reduction (kW)
1 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totals | [13 empty] | 0 | 0 | 0 | TOTALS | [11 empty] | 0 | 0
Item #: This item number should be written next to the corresponding equipment on the project invoice.
Efficiency Measure Type: Indicate whether you are adding an economizer to an existing unit, replacing the existing unit with a new high-efficiency unit including an economizer, or replacing the existing unit with a new high-efficiency unit without an economizer.
Existing Unit has Economizer? Indicate whether the existing unit has an economizer. The economizer rebate is only available for retrofits and unit replacements when the existing unit did not have an economizer.
Equipment Manufacturer & Model Number: Enter the equipment manufacturer and model number.
Equipment Type and Cooling Capacity: Choose the appropriate equipment type and cooling capacity range from the drop-down menu.
Cooling Capacity: Enter the nominal cooling capacity.
Peak Efficiency: Enter the peak efficiency for the equipment. This should be stated in EER for all sizes and types of equipment. Efficiency is not a required input if the Efficiency Measure Type is "add economizer to existing unit."
Seasonal/Part-Load Efficiency: Enter the seasonal or part-load efficiency. This should be stated in SEER for units <65,000 Btu/h and IEER for units larger.
Quantity: Enter the number of identical HVAC units being installed. If units have different model numbers or efficiencies they should be listed on different lines.
Total Incentive: This is the total estimated incentive. It is calculated automatically when provided with all of the needed inputs, described above.
Annual Electricity Savings: This is the estimated annual energy savings. This is calculated automatically, based on a simplified analysis of this equipment's anticipated performance compared to a standard efficiency unit. This may or may not accurately predict the savings that will be achieved by your project. Contact your vendor, Platte River Energy Services, or your utility rep for more information.
Annual Electric Cost Savings: This is the estimated annual electric cost savings. Since it is based on the annual electricity savings, the same caveats regarding accuracy of the estimate apply.
City | Fort Collins Utilities
Utility picklist: |  |  |  |  | Efficiency measure picklist:
Select your local utility |  |  |  |  | New unit with economizer
Fort Collins Utilities |  |  |  |  | New unit without economizer
Longmont Power & Communications |  |  |  |  | Controls for PTAC/PTHP
Loveland Water and Power
Town of Estes Park
Minimum Efficiency Incentives ($/ton)
|  |  | Select your local utility | Fort Collins Utilities | Longmont Power & Communications | Loveland Water and Power | Town of Estes Park
<5.4 tons, split system |  |  |  | 100 | 85 | 85 | 85
<5.4 tons, unitary |  |  |  | 100 | 85 | 85 | 85
5.5 - 11.2 tons |  |  |  | 150 | 110 | 110 | 110
11.3 - 19.9 tons |  |  |  | 150 | 110 | 110 | 110
20 - 63.3 tons |  |  |  | 150 | 110 | 110 | 110
<4.2 tons, PTAC |  |  |  | 50 | 50 | 50 | 50
Incremental Incentives ($/ton/0.1 xEER)
|  |  | Select your local utility | Fort Collins Utilities | Longmont Power & Communications | Loveland Water and Power | Town of Estes Park
<5.4 tons, split system |  |  |  | 5 | 3.5 | 3.5 | 3.5
<5.4 tons, unitary |  |  |  | 5 | 3.5 | 3.5 | 3.5
5.5 - 11.2 tons |  |  |  | 5 | 3.5 | 3.5 | 3.5
11.3 - 19.9 tons |  |  |  | 5 | 5 | 5 | 5
20 - 63.3 tons |  |  |  | 5 | 5 | 5 | 5
<4.2 tons, PTAC |  |  |  | 5 | 4 | 4 | 4
Equipment lookup list: |  |  | Part-Load Efficiency UOM
<5.4 tons, split system |  |  | SEER
<5.4 tons, unitary |  |  | SEER
5.5 - 11.2 tons |  |  | IEER
11.3 - 19.9 tons |  |  | IEER
20 - 63.3 tons |  |  | IEER
<4.2 tons, PTAC |  |  | n/a
Energy & demand savings inputs
Oversizing factor |  |  | 1.15
Annual full-load hours (h/yr) |  |  | 1100
PTAC controls savings (kWh/yr/unit) |  |  | 800
Electric rate ($/kWh) |  |  | 0.077
|  |  | 0.078 | (PTAC control savings rate)
Demand diversity factor |  |  | 0.8
Standard efficiency lookups for savings calculations
|  | Std EER | Std xEER
<5.4 tons, split system |  | 11 | 13
<5.4 tons, unitary |  | 11 | 13
5.5 - 11.2 tons |  | 11 | 11.2
11.3 - 19.9 tons |  | 10.8 | 11
20 - 63.3 tons |  | 9.8 | 9.9
<4.2 tons, PTAC |  | 8.88 | 10.4471
Economizer rebate lookup
|  |  | Select your local utility | Fort Collins Utilities | Longmont Power & Communications | Loveland Water and Power | Town of Estes Park
|  |  |  | 250 | 250 | 250 | 250
Note on Y44: Paul Davis: Checks that both EER and xEER are high enough to receive a rebate. For PTAC, only checks if EER is high enough.
Note on AD45: Paul Davis: Needs a diversity factor.
Note on AF45: Estimate based on BG and Nexant office building energy simulations based on SEER ~10.5, adjusted for efficiency of the new unit.
Note on AH44: Show per-unit rebate if Efficiency Measure Type is "add economizer to existing unit" and Existing Unit Has Economizer is "no."
Need help? Click here for contact information.

## Page 4-Envelope
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation |  |  |  |  | Approval code:
Page 4: Building Envelope Incentive Worksheet |  |  |  |  | Participating company:
Measure | Incentive per unit |  | Criteria (see additional requirements below) | Insert Component Area Square Footage | Total Potential Incentive | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr) | Annual electricity savings per unit (kWh/yr/sf component area) | Demand savings per unit (W/sf component area) | Total energy savings (kWh/yr) | Total demand savings (kW)
Efficient windows | 1.5 | per SF glass | U-value must be 0.30 or less & SHGC 0.25 or less for south, east & west glazing (must be rated for entire window & frame) |  |  |  |  | 3.434 | 2.922 | 0 | 0
Roof insulation | 0.16 | per SF roof | Insulation entirely above deck R-30 c.i. (Max U-value = 0.032) |  |  |  |  | 0.1265 | 0.14524 | 0 | 0
|  |  | Metal building R-19 + R-19 (Max U-value = 0.046) |  |  |  |  | 0.18757 | 0.21536 | 0 | 0
|  |  | Attic insulation R-49 (Max U-value = 0.021) |  |  |  |  | 0.048933 | 0.056182 | 0 | 0
Wall insulation | 0.03 | per SF wall | Mass R-20 c.i. |  |  |  |  | 0.04411 | 0.066165 | 0 | 0
|  |  | Metal building R-13 + R-19 |  |  |  |  | 0.048521 | 0.072781 | 0 | 0
|  |  | Steel framed R-19 + R-7.5 c.i. |  |  |  |  | 0.0058813 | 0.008822 | 0 | 0
|  |  | Wood framed R-19 + R-4 c.i. |  |  |  |  | 0.019114 | 0.028671 | 0 | 0
Cool roof | 0.09 | per SF roof | ENERGY STAR labeled material and application |  |  |  |  | 0.42255 | 0.144 | 0 | 0
Totals |  |  |  |  | 0 | 0 | 0 |  |  | 0 | 0
Additional Requirements - General:
· Insulation and product rating must be met or exceeded to qualify, no partial improvement can be applied.
· Where a "Max U-value" is shown, alternate insulation or construction methods may be used as long as it can be demonstrated that this U-value is not exceeded.
· Building must be electrically cooled or electrically heated to qualify for envelope incentives.
· Energy savings estimates are based on energy models for a reference building that may or may not accurately predict the savings that will be achieved by your project. Contact your vendor, Platte River Energy Services, or your utility rep for more information.
Additional Requirements - Replacement window:
· To qualify for an incentive, windows must meet or exceed the listed U-value and SGHC criteria based on whole-window ratings, not just the center-of-glass (COG) ratings. If whole-window ratings are not available, they can be estimated based on COG values, window sizes, and frame types. Contact Platte River Energy Services for assistance.
· Prescriptive window incentives are only available if the window area is less than 40% of the gross wall area.
· Incentives are available only for windows within 45 degrees of true east, west, or south orientations.
Additional Requirements - Existing window: add window film:
· Window films must be professionally installed.
· Incentives are available only for windows within 45 degrees of true east, west, or south orientations.
Additional Requirements - Roof & Wall Insulation:
· The c.i. designation stands for Continuous Insulation. This is insulated sheathing panels completely covering the exterior side of the steel framing, mass wall, or roof deck thus providing a continuous thermal break to the outside.
· For metal roofs the recommended construction is standing-seam roofs with two layers of blanket insulation. The first layer is draped perpendicularly over the purlins with enough looseness to allow the second insulation layer to be laid above it, parallel to the purlins. A thermal spacer block is also required.
· For steel framed walls the first layer is installed continuously perpendicular to the exterior of the girts and is compressed as the metal skin is attached to the girts. The second layer of insulation is installed parallel to the girts within the framing cavity.
Note on J5: Savings from ENERGY10 building energy simulations. Baseline building based on ASHRAE 90.1-2004. Spreadsheet adjustments made to reduce savings relative to new code, ASHRAE 90.1-2010.
Need help? Click here for contact information.

## Page 5-Food Service
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation |  |  |  |  | Approval code:
Page 5: High Efficiency Food Service Equipment |  |  |  |  | Participating company:
New High Efficiency Equipment* |  | Minimum Required Criteria (see below for qualifying models) | Incentive per Unit | # Units | Total Potential Incentive | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr)** | Energy Savings per Unit (kWh/yr) | Total Energy Savings (kWh/yr) | Annual Cost Savings per Unit ($/yr) | Total Annual Cost Savings ($/yr) | Choose Rate type
High Efficiency Ice Machine (kWh/100 lbs of ice) |  | CEE Tier 3 | 300 |  |  |  |  | 3000 | 0 | 192 | 0 | mostly energy, some demand
High Efficiency Ice Machine (kWh/100 lbs of ice) |  | ENERGY STAR | 200 |  |  |  |  | 2000 | 0 | 128 | 0 | mostly energy, some demand
Insulated Hot Food Holding Cabinets (min 7 cu ft) |  | ENERGY STAR | 300 |  |  |  |  | 6700 | 0 | 335 | 0 | high energy, low demand
Reach-In Refrigerators & Freezers (< 19 ft3) (glass or solid door) |  | ENERGY STAR | 50 |  |  |  |  | 585 | 0 | 37.44 | 0 | mostly energy, some demand
Reach-In Refrigerators & Freezers (19 - 30 ft3) (glass or solid door) |  | ENERGY STAR | 75 |  |  |  |  | 700 | 0 | 44.8 | 0 | mostly energy, some demand
Reach-In Refrigerators & Freezers (31 - 60 ft3) (glass or solid door) |  | ENERGY STAR | 100 |  |  |  |  | 900 | 0 | 57.6 | 0 | mostly energy, some demand
Reach-In Refrigerators & Freezers (61 - 90 ft3) (glass or solid door) |  | ENERGY STAR | 125 |  |  |  |  | 1250 | 0 | 80 | 0 | mostly energy, some demand
Electric Steamers |  | ENERGY STAR | 250 |  |  |  |  | 3749 | 0 | 187.45 | 0 | high energy, low demand
Electric Fryers |  | ENERGY STAR | 75 |  |  |  |  | 900 | 0 | 45 | 0 | high energy, low demand
Electric Griddles |  | ENERGY STAR (> 70% HL Eff) | 150 |  |  |  |  | 1600 | 0 | 80 | 0 | high energy, low demand
Combination Ovens - Electric |  | ENERGY STAR (> 70% HL Eff) | 1000 |  |  |  |  | 12000 | 0 | 600 | 0 | high energy, low demand
Convection Ovens - Electric |  | ENERGY STAR (> 70% HL Eff) | 225 |  |  |  |  | 2260 | 0 | 113 | 0 | high energy, low demand
Vent Hood Controls | [8 empty] | 0 |  | 0 | high energy, low demand
Vent Hood Controls with VFD fans & sensors; per hp (enter total exhaust fan horsepower under "# Units") |  | Recommend using qualified installer | 200 |  |  |  |  | 1750 | 0 | 87.5 | 0 | mostly energy, some demand
Are there MUA fans controlled? (select yes/no) | No
Total potential incentive on page 11 must be a minimum of $50 to qualify. Rebate cannot exceed project cost. |  |  | Totals |  | 0 | 0 | 0 |  | 0 |  | 0
Minimum Required Criteria Reference | Website Links |  | Description
CEE Tier 2 & 3 Qualifying Model Lists www.cee1.org | http://www.cee1.org/com/com-kit/com-kit-main.php3 |  | Visit the Consortium for Energy Efficiency (CEE) website for a list of all CEE qualifying kitchen equipment; including Tiers 2 & 3.
ENERGY STAR Qualifying Model Lists | http://www.energystar.gov/index.cfm?c=products.pr_find_es_products |  | ENERGY STAR website homepage to find ENERGY STAR qualifying equipment models
General Energy Savings Calculators www.fishnick.com | http://www.fishnick.com/ |  | Interactive FSTC commercial kitchen equipment interactive web-based tool, displaying estimated savings with energy efficient appliances.
* Rebates are available for NEW equipment only. Used or refurbished equipment does not qualify.
** Annual electric cost savings estimates are based on a simple calculation and may not accurately predict the results for your facility. Contact your vendor, Platte River Energy Service, or your utility rep for more information.
Yes
high energy, low demand | No
mostly energy, some demand
some energy and demand
high demand, low energy or energy only rate
Need help? Click here for contact information.

## Page 6-Grocery
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation |  |  |  | Approval code:
Page 6: High Efficiency Grocery Equipment |  |  |  | Participating company:
High Efficiency Equipment Upgrades | Rebate per Unit | # Units | Unit of measure | Potential Incentive | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr)* | Energy savings per unit (kWh/yr) | Total energy savings (kWh/yr) | Demand savings per unit (kW) | Total demand savings (kW) | Annual Cost savings per unit ($/yr) | Total annual cost savings ($/yr) | Choose Rate type
New Reach-in or Open Display Cases and Existing Walk-ins Only (see below for new walk-ins or refrigerated warehouse rebates) | [9 empty] | 0 |  |  | Choose Rate type
Zero energy glass doors w/ co ASH <1> | 75 |  | door |  |  |  | 810 | 0 | 0.1175 | 0 | 51.84 | 0 | mostly energy, some demand
LED case lighting <2> | 40 |  | lamp |  |  |  | 440 | 0 | 0.08 | 0 | 34.32 | 0 | some energy and demand
Electrically Commutated (EC) motors in display cases <3> | 30 |  | motor |  |  |  | 312.6957 | 0 | 0.032906 | 0 | 20.0125 | 0 | mostly energy, some demand
EC motor compressor head cooling fans <4> | 50 |  | motor |  |  |  | 778 | 0 | 0.12 | 0 | 49.792 | 0 | mostly energy, some demand
Page 1 of 3 - Continued of next page | [9 empty] | 0
Night covers – vertical or horizontal | 10 |  | ln ft case |  |  |  | 250 | 0 | 0 | 0 | 12.5 | 0 | high energy, low demand
Upgrade New Walk-in or Refrigerated Warehouse (see above for existing walk-in or warehouse retrofits) | [9 empty] | 0 |  | 0
Zero energy doors w/ no ASH <1> | 50 |  | door |  |  |  | 629.268 | 0 | 0.0468 | 0 | 40.2732 | 0 | mostly energy, some demand
LED case lighting <2> | 40 |  | lamp |  |  |  | 440 | 0 | 0.08 | 0 | 34.32 | 0 | some energy and demand
Hardwired T8 fixture in walk-in cooler/freezer | 15 |  | lamp |  |  |  | 616 | 0 | 0.067 | 0 | 30.8 | 0 | high energy, low demand
Screw-in CFL for walk-in cooler/freezer | 1 |  | lamp |  |  |  | 671 | 0 | 0.073 | 0 | 33.55 | 0 | high energy, low demand
Smart defrost control walk-in freezer <5> | 150 |  | controller |  |  |  | 1500 | 0 | 0 | 0 | 75 | 0 | high energy, low demand
Outside air economizers for walk-ins <6> (walk-in must be ≥ 1,000 cu. ft.) | 1250 |  | Unit |  |  |  | 12500 | 0 | 0 | 0 | 625 | 0 | high energy, low demand
Total potential incentive on page 11 must be a minimum of $50 to qualify. Rebate cannot exceed project cost. | Total |  |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0
* Annual electric cost savings estimates are based on a simple calculation and may not accurately predict the results for your facility. Contact your vendor, Platte River Energy Service, or your utility rep for more information.
Custom Incentives may be available for the following measures
High efficiency compressors, Evaporative & Air Cooled Condensers, Floating Head Pressure and Suction Pressure; Air-Cooled to Evap-Cooled Condenser conversion on multiplex or stand alone systems; VFDs for motors and compressors.
Custom rebates require pre-approval and are based on $0.10 per Annual kWh Savings. Enter custom incentive on "Page 10-Custom" of this workbook.
Required Specifications & Definitions
<1> "High Efficiency" Reach-in or Open Case (in cooler/freezer) must have the following components listed to qualify for a rebate: "Freezer" is low temp covering evaporator temperatures below 0 degrees F and "cooler" is considered medium temp covering 1 to 35 degrees F. High Efficiency cases have low heat triple pane glass doors with either heat-reflective treated glass or gas fill with ASH controls and anti-sweat heaters that do not exceed 0.39 amperage (120V) per door, ECM fan motors, T8 lamps with electronic ballasts, and evaporators that raise the suction temperature set point by at least 3°F. Incentive will be based on the prior case length if the new one is longer than what was replaced. Additional rebate per linear foot for Zero energy Doors and LED lighting is available and is additive to this rebate.
Page 2 of 3 - Continued of next page
<1> Zero Energy Doors w/ No ASH: Triple-pane glass with either heat-reflective treated glass or gas fill and are equipped with no anti-sweat heaters for reach-in glass doors coolers and freezer installations.
<2> LED Case Lighting: Must install LED case lighting. New case equipped with LED lighting. Rebate applies to new display cases and/or new walk-in or warehouse coolers/freezers.
<3> EC Motors in Display Cases: Must be equipped with electronically commutated motor (ECM) in display case coolers/freezers. Rebate only applies to enew display cases for less than one horsepower motors.
<4> EC Motors on compressor head fans: Compressor head-cooling fan motors must be equipped with electronically commutated motors. Motor must take place on low temperature reciprocating compressor systems with existing 35-55 watt output head fan motors. Compressors must be an integral part of a refrigeration system with a remote air cooled or evaporative condenser. New ECM motor may not be more than 20 watt output. Must install, or be equipped with, electronically commutated motor (ECM) on compressor head fans in walk in coolers.
<5> Smart Defrost Controls (on Walk-In Freezer Condensing Unit) Eligible technologies will use mini-processors to sense temperature and pressure and monitor the system operation to determine the need for a defrost cycle for the condensiong unit and provide electric defrost only when necessary. (Systems typically work with existing timed defrost controllers). Eligible technologies must be electric defrost controllers and have third party operational verification testing data. Rebate requires controlling a condensing unit horsepower rating of 1.5 or greater.
<6> Outside Air economizers ≥ 1,000 cu. ft. Outdoor air and exhaust dampers must close automatically for summer isolation. Eligible equipment must be capable of using outdoor air of less than 34° F while maintaining the set point of the cooler. Please include the walk-in box volume (L x W x H) dimensions. Walk-in coolers smaller than 1,000 cu. ft. are not eligible for rebates.

## Page 7-IT & Office
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation |  |  |  | Approval code:
Page 7: High Efficiency IT & Office Equipment/Controls |  |  |  | Participating company:
Existing IT Equipment | New IT Processing Components | Rebate per Unit | # Unit Installed | Total Potential Rebate | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr) | kWh savings per unit | Total kWh savings | W savings per unit | Total kW savings | Annual cost savings per unit | Choose Rate type
PC or no existing equipment | New ENERGY STAR v5.0 desktop or side computer | 5 |  |  |  |  | 50 | 0 | 5.7078 | 0 | 3.9 | some energy and demand
PC or no existing equipment | ENERGY STAR rated thin client | 50 |  |  |  |  | 172 | 0 | 19.6347 | 0 | 13.416 | some energy and demand
Plans for old PCs after thin-client conversion? | Indicate plans here via pulldown menu
Servers | Virtualized servers and server virtualization software | 250 | Servers virtualized:
[7 empty] | 3275 | 0 | 373.8584 | 0 | 163.75 | high energy, low demand
Existing Lighting Equipment Removed | High-Efficiency Lighting Equipment Installed | Rebate per Unit | # Unit Installed | Total Potential Rebate | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr) | kWh savings per unit | Total kWh savings | W savings per unit | Total kW savings | Annual cost savings per unit | Choose Rate type
60-100 W incandescent/halogen desk lamp | New compact fluorescent desk lamp (32 W max) | 15 |  |  |  |  | 112.5 | 0 | 112.5 | 0 | 7.2 | mostly energy, some demand
60-100 W incandescent/halogen desk lamp | New ENERGY STAR LED desk lamp | 15 |  |  |  |  | 112.5 | 0 | 112.5 | 0 | 7.2 | mostly energy, some demand
Linear fluorescent undercabinet fixture (with T12/T8 lamps) | New ENERGY STAR LED undercabinet fixture | 5 |  |  |  |  | 31 | 0 | 31 | 0 | 1.984 | mostly energy, some demand
150-300 W incandescent/halogen floor lamp | New fluorescent torchiere - 55 W max | 20 |  |  |  |  | 142.5 | 0 | 142.5 | 0 | 11.115 | some energy and demand
Existing Equipment | Controls Installed | Rebate per Unit | # Unit Installed | Total Potential Rebate | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr) | kWh savings per unit | Total kWh savings | W savings per unit | Total kW savings | Annual cost savings per unit | Choose Rate type
Exterior lighting > 75 W no automatic control | Exterior photocell | 30 |  |  |  |  | 329 | 0 | 0 | 0 | 21.056 | mostly energy, some demand
Office equipment | Smart strip energy efficient surge protector* | 7 |  |  |  |  | 132 | 0 | 0 | 0 | 8.448 | mostly energy, some demand
Office equipment | Plug strip w/ motion sensor | 15 |  |  |  |  | 200 | 0 | 0 | 0 | 12.8 | mostly energy, some demand
Interior lights or other < 100 W | Occupancy sensor or timer switch | 12 |  |  |  |  | 120 | 0 | 0 | 0 | 7.68 | mostly energy, some demand
Interior lights or other > 100 W | Occupancy sensor or timer switch | 17 |  |  |  |  | 200 | 0 | 0 | 0 | 12.8 | mostly energy, some demand
Bathroom lights or other | Motion sensor nightlight | 15 |  |  |  |  | 150 | 0 | 0 | 0 | 7.5 | high energy, low demand
Vending machine | Occupancy control | 90 |  |  |  |  | 900 | 0 | 0 | 0 | 45 | high energy, low demand
NOTES: |  | Totals |  | 0 | 0 | 0 |  | 0 |  | 0
Total potential incentive on page 11 (Request for Payment) must be a minimum of $50 to qualify. Rebate cannot exceed project cost. Incentives over $1,000 require pre-approval.
Server Virtualization requirements: Must submit virtualization software agreement and provide proof the consolidated servers have been removed and fully decommissioned. Offsite virtualization hosting not eligible for this incentive.
Thin Client requirements: Thin client incentives are available in Fort Collins only, due to funding provided by Fort Collins Utilities. Thin clients must be ENERGY STAR rated. Customer must provide the following information: plans for old PCs; number, location, and power requirements for virtual desktop servers; project cost. Customers may wish to consult the Fort Collins e-waste
guidelines and resources web page at | http://www.fcgov.com/ewaste/
* Check manufacturer specifications to verify that surge protector is appropriate for equipment and appliances that will be plugged in and will protect at lower power surges.
** Annual electric cost savings estimates are based on a simple calculation and may not accurately predict the results for your facility. Contact your vendor, Platte River Energy Service, or your utility rep for more information.
high energy, low demand
mostly energy, some demand
some energy and demand
high demand, low energy or energy only rate
Thin client conversion, plans for old PCs
Indicate plans here via pulldown menu
Repurpose / reuse on site
Sell / donate for outside use
Recycle
Other (please describe here)
Need help? Click here for contact information.

## Page 8-Motors
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | Approval code:
Page 8: Motor Incentive Worksheet | Participating company:
NOTICE:
Effective immediately incentives for motors have been terminated due to the enactment of the latest DOE
manufacturer requirements which now equal Platte River's cost effective standard. However customers
may submit motors that demonstrate a very high efficiency under the "Custom" application Procedure.
As with any "Custom" application proper engineering data must be provided demonstrating the
kWh savings. Any questions or comments can be directed to 970-229-5204 or rubalam@prpa.org.
projected annual kWh savings over that of the DOE standard. Any questions or comments can be
directed to 970-229-5204 or by e-mail to rubalam@prpa.org.

## Page 9-Motor VFD
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | [12 empty] | Approval code:
Page 9: Variable Frequency Drive (VFD) Incentive Worksheet | [12 empty] | Participating company:
Prescriptive incentives are available for variable frequency drives (VFDs) for certain sizes and applications. Custom incentives for other sizes and applications may also be available.
The prescriptive requirements and incentives are described below. Incentives can be determined for your project in the subsequent section.
Incentive Structure and Requirements
Incentive Rate ($/hp)
Motor Capacity (hp) Min Max |  | Fan | Pump
5 | 7.4 | 120 | 120
7.5 | 9.9 | 100 | 100
10 | 14.9 | 100 | 100
15 | 20 | 85 | 85
Incentives may vary based on your local electric provider. You must select your electric utility on Page 1 of this application for incentives to be shown.
Custom rebates may be available. Contact Platte River Energy Services or your local utility representative for more information.
Additional requirements:
· All VFD incentive applications must be pre-approved, whether the total estimated incentive is above or below $1,000.
· Incentives are only available for new VFDs installed where none were previously used.
· Incentives are not available in new construction or renovation projects if the VFD is required by ASHRAE 90.1-2010.
· Incentives are not available for VFDs installed in unitary cooling equipment if the VFD is required to achieve the AHRI cooling efficiency rating and if the equipment is receiving a cooling efficiency incentive.
· Customer acknowledges that he or she has been made aware of the potential for VFDs to cause harmonic distortion on the facility's electric distribution system and that harmonic distortion can sometimes negatively impact the operation of sensitive electric equipment interconnected with the distribution system.
Required Documentation for this Incentive:
A dated invoice showing all equipment listed in this application, including make, model numbers, and quantities.
Incentive Calculator
Descriptions of the data required in each column can be found just below the table.
Item # | Motor Capacity (hp) | Motor Load Type | Application |  | Quantity | Customer's Identifier or Location |  | Existing Flow Control |  | VFD Speed Control Type |  | Annual Hours | Redundant Motor | Total Potential Incentive | Annual Electricity Savings (kWh/yr) | Annual Electric Cost Savings ($/yr)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Totals | [13 empty] | 0 | 0 | 0
Item #: This item number should be written next to the corresponding equipment on the project invoice.
Motor Capacity (hp): Enter the nameplate motor capacity in hp. For metric motors, convert metric output with the following conversion constant: 0.746 kW/hp.
Motor Load Type: Choose whether the VFD is being applied to a fan motor or a pump motor. Other motor loads may qualify for custom incentives; contact Platte River Energy Services or your local utility rep for more information.
Application: Choose the application for this motor. Write a brief description if your application is not listed.
Quantity: Enter the number of similar motors being retrofit with VFDs here. If motors are of different capacity, load type, or application, enter them on a separate row.
Customer's Identifier or Location: Enter a unique identifier or location for this motor/application (e.g., "CW Pump #1" or "North-wing AHU").
Existing Flow Control: Enter the current control method for this load. Motors currently driven by a VFD are not eligible for this incentive.
VFD Speed Control Type: Enter how the VFD speed will be controlled. VFDs must be automatically controlled to qualify for this incentive.
Annual Hours: Enter the estimated total hours per year a motor is running to serve this application.
Redundant Motor: Enter "yes" if there is more than one similar motor that can operate to serve this application. Enter "no" if this is the only motor that serves this application.
Total Incentive: This is the total estimated incentive. It is calculated automatically when provided with all of the needed inputs, described above.
Annual Electricity Savings: This is the estimated annual energy savings. This is calculated automatically, based on simplified assumptions regarding this equipment's anticipated performance and the Motor Capacity, Quantity, Annual Hours, and Redundant Motor inputs. This may or may not accurately predict the savings that will be achieved by your project. Contact your vendor, Platte River Energy Services, or your utility rep for more information.
Annual Electric Cost Savings: This is the estimated annual electric cost savings. Since it is based on the annual electricity savings, the same caveats regarding accuracy of the estimate apply.
Hidden rows below this row
City | Fort Collins Utilities | [6 empty] | (In the EEP application, this would be controlled by the city utility input on the Customer Information page.)
Fan Incentives | [6 empty] | Pump Incentives
| Select your local utility | Fort Collins Utilities | Longmont Power & Communications | Loveland Water and Power | Town of Estes Park |  |  | Select your local utility | Fort Collins Utilities | Longmont Power & Communications | Loveland Water and Power | Town of Estes Park
5 |  | 120 | 120 | 120 | 120 |  | 5 |  | 120 | 120 | 120 | 120
7.5 |  | 100 | 100 | 100 | 100 |  | 7.5 |  | 100 | 100 | 100 | 100
10 |  | 100 | 100 | 100 | 100 |  | 10 |  | 100 | 100 | 100 | 100
15 |  | 85 | 85 | 85 | 85 |  | 15 |  | 85 | 85 | 85 | 85
Max motor size for rebate |  |  | 20 | (can allow larger motor capacity input for custom rebates. This motor will get the 20-hp incentive rate unless the ">20 hp line in the incentive table is changed)
Application Lookup
Fan: supply air
Fan: return air
Fan: exhaust air
Fan: boiler draft
Fan: other (describe here)
Pump: chilled water
Pump: condenser water
Pump: hot water
Pump: boiler feedwater
Pump: other (describe here)
Existing Flow Control Lookup
fixed flow
variable flow: outlet damper/valve
variable flow: inlet vanes/damper
variable frequency drive
Other (describe here)
VFD Speed Control Type Lookup
pressure (static or head)
flow
temperature
other (describe here)
Savings assumptions
VFD savings |  | 33%
Electric rate ($/kWh) |  | 0.075
Load Factor (Nexant) |  |  |  |  | Hours per year (Nexant) |  |  |  |  | Existing Efficiency (NEMA Premium, 1800 RPM, TEFC)
| Fan | Pump |  |  |  |  | Fan | Pump
5 | 0.65 | 0.75 |  |  | 5 |  | 4550 | 3380 |  | 5 | 88.83%
7.5 | 0.65 | 0.75 |  |  | 7.5 |  | 4316 | 4121 |  | 7.5 | 90.32%
10 | 0.65 | 0.75 |  |  | 10 |  | 4316 | 4121 |  | 10 | 90.97%
15 | 0.65 | 0.75 |  |  | 15 |  | 4316 | 4121 |  | 15 | 91.67%
20 | 0.65 | 0.75 |  |  | 20 |  | 4316 | 4121 |  | 20 | 92.02%
Need help? Click here for contact information.

## Page 10-Custom
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | [7 empty] | Approval code:
Page 10: Custom Incentive Worksheet | [7 empty] | Participating company:
Proposed Efficiency Measures and Installation Schedule
PROPOSED MEASURE
Measure Number |  | Proposed Measures (select from list and describe in more detail in section below) | [5 empty] | Projected Installation Start Date |  | Projected Installation Completion Date |  | Cooling - Chiller Replacement
1 | [11 empty] | Cooling - Package AC Replacement
2 | [11 empty] | Cooling - Other (please describe)
3 | [11 empty] | Lighting - Efficiency (lamps/ballasts)
4 | [11 empty] | Ventilation System Conversion to VAV
5 | [11 empty] | High-efficiency Motors
6 | [11 empty] | High-efficiency Motors w/ VFD
7 | [11 empty] | Industrial Process (please describe)
8 | [11 empty] | Other (please describe)
Efficiency Measure Description
In this section, please describe the scope of the project in summary form, including the following: a description of each proposed measure, the affected system(s), the affected facility(ies), what activities will be performed by the Participant, and the estimated energy and demand savings. Add as many additional lines or attach additional sheets as necessary.
Savings Calculations
Project savings estimates (energy and demand) are used to determine the project incentive. Please include documentation that supports the estimated savings listed for each measure. This should include a list of assumptions, methods, and equations used in the estimate. Attach separate sheets and/or electronic files as necessary. All savings calculations should include as much of the information listed below as possible, preferably in electronic format.
Contact Platte River Energy Services if you have questions or need assistance documenting the savings estimates.
Suggested format for presenting peak demand and annual energy usage estimation methods:
1. | Show all formulas |  |  |  |  | 5. | Provide all data inputs (raw and summarized)
2. | Identify and describe all dependent variables |  |  |  |  | 6. | Show energy consumption calculations and results
3. | Identify and describe all independent variables |  |  |  |  | 7. | Show savings calculations and results
4. | List assumptions (including associated justification)
Please describe supporting documentation being provided:
Project Implementation Cost Estimates
Please include documentation that supports the estimated implementation costs listed for each of the measures. Suitable documentation includes bids from contractors and/or quotes from equipment suppliers. In-house estimates can be submitted for items that do not have bids or quotes that are readily available. Such estimates should show costs for equipment and labor separately. These costs should be broken down further by equipment type or major labor task. Attach additional pages as necessary.
Please describe supporting documentation being provided:
Determine the Incentive Based on Project Savings and Project Implementation Cost
Please complete the table below for each measure to be performed under the project. Cells in gray are calculated automatically. The following program rules must be considered when estimating savings and incentives:
1. | The Nominal Incentive is the greater of the Energy Incentive or the Demand Incentive:
| a. | The Energy Incentive is $0.10 per annual kWh saved.
| b. | The Demand Incentive is $500 per kW saved during the Summer Peak Period (Monday through Friday, 3 to 6 p.m., June through August). The demand savings must be the hour-average demand savings that would be measured with a power meter. Therefore, the estimate should take into account the actual use of the affected equipment (e.g., duty cycle during, on/off cycling or other forms of capacity modulation, etc.).
2. | The Actual Incentive is the lesser of the Nominal Incentive and the two following incentive caps:
| a. | 60% of project cost: The total project incentive shall not be greater than 60% of the total cost to implement the project.
| b. | One-year simple payback period: The total project incentive shall not be greater than that which reduces the simple payback period of the project to one year.
3. | An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's or Fort Collins Utilities' discretion, pending availability of funds. Contact Platte River Energy Services or your utility rep for more information.
4. | Platte River will not support projects in cases where simple payback between the baseline and the difference in cost to upgrade to the high efficiency alternative is greater than the product's expected life.
Incentive Determination
Measure Number |  | Proposed measures (from Project Description Form) |  | Existing Conditions |  | Energy-Efficient Upgrade |  | Peak-period demand reduction (kW) | Annual electricity savings (kWh/yr) | Annual energy and demand cost savings estimate | Cost difference between baseline measure and energy efficient measure
|  |  |  | Average peak-period demand (kW) | Annual electricity usage (kWh/yr) | Average peak-period demand (kW) | Annual electricity usage (kWh/yr)
1 | [7 empty] | 0 | 0
2 | [7 empty] | 0 | 0
3 | [7 empty] | 0 | 0
4 | [7 empty] | 0 | 0
5 | [7 empty] | 0 | 0
6 | [7 empty] | 0 | 0
7 | [7 empty] | 0 | 0
8 | [7 empty] | 0 | 0
TOTALS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Incentive ($500/kW) |  |  | 0
Energy Incentive ($0.10/(kWh/yr)) |  |  | 0
Nominal Incentive |  |  | 0
Incentive caps:
60% of project cost |  |  | 0 |  | Notes
One-year simple payback cost |  |  | 0 |  | All projects with custom measures require pre-approval.
Per-customer, per-year |  |  | 50000 |  | Customers may be held to a $50,000 incentive cap.
ACTUAL INCENTIVE |  |  | 0
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's discretion, pending availability of funds. Contact Platte River Energy Services for more information.
An additional cap of $50,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's or Fort Collins Utilities' discretion, pending availability of funds. Contact Platte River Energy Services or your utility rep for more information.
Need help? Click here for contact information.

## Page 11-Request for Payment
Electric Efficiency Program Application (v2.1)
New Construction/Major Renovation | [6 empty] | Approval code:
Page 11: Request For Payment Form & Terms and Conditions | [6 empty] | Participating company:
Incentive Summary
Measure |  | Total Potential Incentive* | Annual Electricity Savings (kWh/yr)** | Annual Electric Cost Savings ($/yr)** | Total Installed Cost+
Lighting |  | 0 | 0 | 0
Cooling Efficiency |  | 0 | 0 | 0 |  |  | Projects that require pre-approval by Platte River are:
Envelope |  | 0 | 0 | 0 |  |  | · Any project with a total potential incentive over $1,000 · All projects with custom measures
Food Service |  | 0 | 0 | 0
Grocery |  | 0 | 0 | 0
IT & Office Equipment |  | 0 | 0 | 0
Motor VFDs |  | 0 | 0 | 0
Custom Measures |  | 0 | 0 | 0
TOTALS |  | 0 | 0 | 0 | 0
Rebate caps may apply. Contact your utility representative for more information.
*Incentives are calculated on the worksheets found in this spreadsheet.
** Annual Electricity Savings and Electric Cost Savings are estimates that may not predict the savings for your project.
+ The total installed cost for each measure should be entered here.
Required Documentation
1. | Please provide documentation for measures listed above. This should include associated worksheets if applicable, design drawings and/or specifications. Platte River may follow up with requests for documentation showing proper installation and operation of systems and equipment, such as a start-up or commissioning report. Custom incentive must be accompanied with engineering data illustrating projected energy savings and estimated installation costs.
2. | Must provide copies of all pertinent sales invoices, as may be requested by Platte River.
3. | Include a completed IRS W-9 form with application for the payment recipient, found at this website:
http://www.irs.gov/pub/irs-pdf/fw9.pdf?portlet=3
4. | Return application materials to: |  |  |  | Contact information:
| Platte River Power Authority |  |  |  | Telephone: | (970) 226-4000
| Attn: Energy Services |  |  |  | Fax: | (970) 229-5244
| 2000 E. Horsetooth Rd. |  |  |  | Email: | electricefficiency@prpa.org
Fort Collins, Colorado 80525-5721
Terms and Conditions
1. | The undersigned hereby certifies that the project has been completed as described in this application. In particular, the equipment is operational; the application accurately describes the new equipment; all equipment quantities are correct; and the attached invoices accurately reflect the project costs.
2. | Upon Platte River’s request and reasonable notice, Platte River representatives will be given access to the project site so they may verify equipment installation, characteristics, quantities, and performance.
3. | Incentives are based on the projected energy savings and the estimated installation costs of the project, which may be found by Platte River, in its sole discretion, to be different from the values shown in the application. If this occurs, Platte River will provide notification of the difference and give the Participant, contractor, or vendor the opportunity to ask for a review of the findings or to remedy the discrepancy before adjusting the incentive.
4. | Platte River does not guarantee the estimated energy cost savings. Furthermore, Platte River makes no warranties for materials provided by or work performed by Participant’s contractors, vendors, consultants, or Participant’s own employees. Platte River is not responsible for errors in or misrepresentations of the incentive amount by contractors, consultants, or vendors.
5. | Participant is responsible for securing any permits for work funded through this program as required by local codes. Participant shall comply with all applicable federal, state, and local regulations, requirements, ordinances, and statutes.
6. | Participant agrees to ensure that potentially hazardous or regulated wastes (e.g., PCB-containing ballasts, fluorescent lamps, high-intensity discharge lamps, etc.) are handled and disposed of in compliance with applicable federal, state, and local laws and regulations.
7. | In consideration of receiving the incentives stated herein, Participant shall indemnify, protect, defend, and hold harmless, Platte River, its board members, directors, officers, employees, partners, principals, contractors, agents, and representatives, from and against any and all claims, costs, damages, demands, expenses, fines, judgments, liabilities, losses, penalties, and remedial actions of any kind, including but not limited to, reasonable attorneys' fees and the costs of defense arising, directly or indirectly, in whole or in part, out of Participant participation in the Electric Efficiency Program, the performance of the measures, or the provision of assistance and incentives by Platte River related to the Energy Efficiency program.
8. | Payments provided by utilities (including Platte River) to Participants for the purchase or installation of energy conservation measures may in some circumstances be considered as (partially) taxable income by the IRS. Participants or their assigns receiving incentive payments totaling $600 or more during a program year and who are not organized as a corporation will receive a 1099-MISC from Platte River in January or February of the subsequent year. Participant, or alternate payment recipient, may wish to consult a tax advisor on this matter.
9. | In compliance with C.R.S. §24-76.5-101, et seq., as amended, Platte River will require Participants who are individuals or sole proprietors (i.e., not corporations or partnerships) applying for incentives to prove their lawful presence in the United States. To do so, the Participant will be required to provide identification set forth in C.R.S. §24-76.5-103(4), as amended, in addition to a signed affidavit indicating his or her lawful presence. Platte River cannot provide an incentive to a Participant who is unwilling or unable to meet this requirement.
10. | Incentive funds will be reserved for no more than 45 days beyond the estimated completion date listed in this application and no more than 45 days beyond building occupancy for new construction/major renovation projects (specified on page 1). Participant shall notify Platte River immediately if completion of the project is expected to be delayed beyond this time. Platte River will seek to provide funds for projects that are delayed, provided such funds are available, but is under no obligation to do so.
11. | Participants shall require that all parties, contractors, or subcontractors implementing the proposals and / or installing the Measures that are the subject to this Agreement maintain comprehensive general liability insurance in amounts not less than $500,000 each person / $1,000,000 each occurrence for bodily injury, and $500,000 each occurrence / $1,000,000 in aggregate for property damage. If the Participant is implementing the proposals and / or installing the Measures, the Participant shall maintain insurance in the amounts specified herein.
PARTICIPANT:
I have read, understood, agree and possess the authority to execute this Request for Payment Form in relation to the terms and conditions listed above.
Signature: |  |  |  |  | Date:
Name: |  |  |  |  | Phone:
Title:
Business:
Address:
Fed. Tax Id.
Alternate Incentive Payment Recipient
Complete this section only if you want the incentive payment to go to someone other than the Eligible Utility Customer listed on page 1.
Contact Person:
Title:
Company:
Mailing Address:
City and State:
Phone:
Comments:
I authorize Platte River Power Authority to make the incentive payment to the identified party above.
Signature: |  |  |  |  | Date:
Name: |  |  |  |  | Phone:
Title:
Need help? Click here for contact information.