## Page 1-Customer Info
Electric Efficiency Program (v1.0)
New Construction/Major Renovation
Page 1: General Customer and Project Information
Approval code:
Complete this application to apply for funding for energy efficiency upgrades to new construction buildings or major renovations of existing structures. Prescriptive incentives are provided for a variety of building system upgrades, such as: improved insulation, windows, daylight controls, lighting efficiency, cooling efficiency, and downsizing of cooling equipment. Prescriptive incentives are based on improving beyond the requirements set by ASHRAE Standard 90.1-2004, "Energy Standard for Buildings Except Low-Rise Residential Buildings."
Participant Acknowledgement of Terms and Conditions
By submitting this application, I hereby acknowledge that I have read, understand and agree to be bound by all requirements, terms, and conditions of the Electric Efficiency Program including, but not limited to, the Terms and Conditions set forth on pages 10a and 10b, Request for Payment Form.
Project Eligibility
A project is eligible for Electric Efficiency Program (EEP) funding if:
l The project is a commercial building served by one of the four following electric utilities: Town of Estes Park Light & Power Department (970-577- 3583), Fort Collins Utilities (970-221-6700), Longmont Power & Communications (303-651-8386), Loveland Water & Power (970-962-3000).
l Other terms and conditions apply as stated on pages 10a and 10b, Request for Payment Form.
Steps to Participate
1. Contact an engineer, consultant, vendor, contractor, or Platte River Energy Services for help with this application if needed.
2. Complete page 1 and the appropriate worksheets on pages 2 through 9 that apply to your project to determine the potential incentive amount. The total incentive amounts are then summarized on page 10a.
a. Any projects that show a total incentive over $1,000 or include custom incentives (from page 9) require pre-approval, as described in step 3.
b. For any other projects, pre-approval is optional. You may proceed to either step 3 or 4, depending on your confidence that you have met the program requirements.
3. To receive pre-approval, submit this unsigned application to Platte River Energy Services*. This may be done via email, fax, or mail. Platte River Energy Services will review the application, and if approved, issue you an approval code.
4. Complete the project. Remember to keep proof of installation as specified on each measure incentive worksheet.
5. Resubmit the entire completed application along with all required documentation (as described on page 10b) to Platte River with the appropriate signatures (also on page 10b). Due to the signature requirement, this must be done via mail.
6. Receive the incentive check typically in four to six weeks*.
*Platte River Energy Services may request a site visit at any time to confirm the accuracy of the application and reserves the right to determine the final eligibility and incentive amount for all projects.
Eligible Utility Customer |  |  |  | Party Completing Form (if different from company at left)
Company: |  |  |  | Company:
Site Address: |  |  |  | Address:
City, state, zip: |  |  |  | City, state, zip:
Contact person: |  |  |  | Contact person:
Mailing address: (if different) |  |  |  | Mailing address: (if different)
City, state, zip: |  |  |  | City, state, zip:
Telephone: |  | Fax: |  | Telephone: |  | Fax:
Email: |  |  |  | Email:
How did you hear about EEP?
Project Site
Serving electric utility: | Select your local utility |  |  | Facility type: | Health Care
IMPORTANT: Site must receive electricity from a listed utility to be eligible for this program |  |  |  | If Other, describe:
Total Project Area (sq ft): |  |  |  | Project Type: | New construction
Estimated Project Schedule
Start date: |  |  |  | Completion date:
Incentive funds are subject to change without notice. Contact Platte River Energy Services to ensure that you have the most recent application and that funds are available.
Contact Information
For questions or to submit an application for approval or payment, please contact Platte River Energy Services:
Platte River Power Authority |  | Phone: | 970-226-4000 |  | Please be sure to direct all correspondence to Energy Services.
2000 E Horsetooth Rd |  | Fax: | 970-229-5244
Fort Collins, CO 80525-5721 |  | Email: | electricefficiency@prpa.org
Select your local utility |  |  | Select your facility type |  | Select your project type |  | Select your ownership/tenant plan
Fort Collins Utilities |  |  | Educational |  | New construction |  | Owner occupied
Longmont Power & Communications |  |  | Grocery |  | Major remodel |  | Build to lease
Loveland Water and Power |  |  | Health Care |  | Replace/upgrade building systems |  | Build to sell
Town of Estes Park |  |  | Hotel/Motel |  |  |  | Government
Industrial
Office
Outdoor
Restaurant
Retail
School
Warehouse/Storage
Other

## Page 2-Lighting
Electric Efficiency Program (v1.0)
New Construction/Major Renovation | [6 empty] | Approval Code:
Page 2: Lighting Incentive Worksheet
To be eligible to participate, all new T8 electronic ballasts must be "high efficiency" and meet or exceed the Ballast Efficacy Factor as described for ballasts in the CEE High Performance T8 specification.
Efficient Lighting Incentive Instructions
1. Lighting retrofits in existing buildings where no significant building renovation is being performed should refer to the LIGHTENUP Program Application:
http://www.prpa.org/productservices/lightenup.htm
2. The Proposed Lighting LPD (W/sq ft) must be 5% lower than the ASHRAE Lighting LPD (90.1 - 2004 Building Area Method) design | [10 empty] | ASHRAE 90.1 - 2004
requirement listed in the Lighting Incentive Worksheet below. | [10 empty] | TABLE 9.5.1 Lighting Power Densities
3. Space by Space Method is allowed but the applicant must use the Custom Rebate Method application on page 9.
4. To be eligible to participate, all T8 electronic ballasts must be "high efficiency" and meet or exceed the Ballast Efficacy Factor as described for
ballasts in the CEE High Performance T8 specification. Customer may not apply for incentives for installing screw in compact fluorescent lamps | [10 empty] | Using the Building Area Method
in fixtures. Incentives are provided only for hardwired compact fluorescent fixtures. | [10 empty] | Lighting Power Density
Enter Annual Lighting Hours |  |  |  |  | Estimated Annual Energy Savings | [5 empty] | Building Area Typea | (W/ft2)
Lighting Incentive Worksheet for Building Area Method designs | [10 empty] | Automotive Facility | 0.9
|  | Proposed Lighting |  | ASHRAE Lighting |  | Reductions |  |  | Daylighting Controls |  | Convention Center | 1.2
Space Typea | Area (sq ft)b | Power (W) | LPD (W/sq ft) | Power (W) | LPD (W/sq ft)c | Power (W) | LPD (W/sq ft) | Incentive | Area (sq ft)d | Incentive | Court House | 1.2
[8 empty] | 0 |  | 0 | Dining: Bar Lounge/Leisure | 1.3
[8 empty] | 0 |  | 0 | Dining: Bar Lounge/Leisure | 1.3
[8 empty] | 0 |  | 0 | Dining: Bar Lounge/Leisure | 1.3
[8 empty] | 0 |  | 0 | Dining: Bar Lounge/Leisure | 1.3
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Dining: Bar Lounge/Leisure | 1.3
Proposed Lighting LPD 5% below ASHRAE LPD? | [10 empty] | Dining: Cafeteria/Fast Food | 1.4
a. Enter as few spaces as possible that adequately describes the facility. See Table 1 below for a complete list of space types. | [10 empty] | Dining: Family | 1.6
b. Make sure that the entire building area is accounted for. | [10 empty] | Dormitory | 1
c. ASHRAE Lighting Power Density (LPD) determined from Table 1 below. | [10 empty] | Exercise Center | 1
d. Area is the floor area served by lighting that is completely controlled by photo sensors. | [10 empty] | Gymnasium | 1.1
[11 empty] | Health Care-Clinic | 1
Table 1: ASHRAE 90.1 - 2004 Lighting Power Densities Using the Building Area Method (Taken from Table 9.5.1 of the ASHRAE standard.) | [10 empty] | Hospital | 1.2
Building Area Typee | (W/ft2) | Building Area Typee |  |  | (W/ft2) | Building Area Typee |  |  | (W/ft2) |  | Hotel | 1
Automotive Facility | 0.9 | Hotel |  |  | 1 | Police/Fire Station |  |  | 1 |  | Library | 1.3
Convention Center | 1.2 | Library |  |  | 1.3 | Post Office |  |  | 1.1 |  | Manufacturing Facility | 1.3
Court House | 1.2 | Manufacturing Facility |  |  | 1.3 | Religious Building |  |  | 1.3 |  | Office | 1
Dining: Bar Lounge/Leisure | 1.3 | Motel |  |  | 1 | Retail |  |  | 1.5
Dining: Cafeteria/Fast Food | 1.4 | Motion Picture Theater |  |  | 1.2 | School/University |  |  | 1.2 |  | Parking Garage | 0.3
Dining: Family | 1.6 | Multi-Family |  |  | 0.7 | Sports Arena |  |  | 1.1 |  | Penitentiary | 1
Dormitory | 1 | Museum |  |  | 1.1 | Town Hall |  |  | 1.1 |  | Police/Fire Station | 1
Exercise Center | 1 | Office |  |  | 1 | Transportation |  |  | 1 |  | Post Office | 1.1
Gymnasium | 1.1 | Parking Garage |  |  | 0.3 | Warehouse |  |  | 0.8 |  | Religious Building | 1.3 |  | Actual | Calculated with constants
Health Care-Clinic | 1 | Penitentiary |  |  | 1 | Workshop |  |  | 1.4 |  | Retail | 1.5 | H/yr | $/kWh | $/kWh
Hospital | 1.2 | Performing Arts Theater |  |  | 1.6 | [5 empty] | School/University | 1.2 | 2000 | 0.07 | 0.070064
[11 empty] | Sports Arena | 1.1 | 3000 | 0.065 | 0.065324
e. In cases where both general building area type and a specific building area type are listed, the specific building area type shall apply. | [10 empty] | Town Hall | 1.1 | 4000 | 0.062 | 0.061036
[11 empty] | Transportation | 1 | 5000 | 0.057 | 0.0572
Table 2: Minimum Ballast Efficacy Factors (BEFs) for Four-Foot Fluorescent Ballasts | [10 empty] | Warehouse | 0.8 | 6000 | 0.054 | 0.053816
# lamps per | low ballast factor |  | medium ballast factor |  | high ballast factor | [5 empty] | Workshop | 1.4 | 7000 | 0.05 | 0.050884
ballast | (BF £ 0.85) |  | (0.85 < BF £ 1.0) |  | (BF > 1.0) | [7 empty] | 8000 | 0.049 | 0.048404
Instant-Start Ballasts | [10 empty] | a In cases where both general building area
1 | 3.08 |  | 3.11 |  | n/a | [5 empty] | type and a specific building area type are
2 | 1.6 |  | 1.58 |  | 1.55 | [5 empty] | listed, the specific building area type shall apply.
3 | 1.04 |  | 1.05 |  | 1.04
4 | 0.79 |  | 0.8 |  | 0.77
Programmed Rapid-Start Ballasts | [10 empty] | Daylighting Incentive | 0.25
1 | 2.84 |  | 2.84 |  | n/a
2 | 1.48 |  | 1.47 |  | 1.51
3 | 0.97 |  | 1 |  | 1 |  |  | BEF = (BF x 100) / ballast input watts
4 | 0.76 |  | 0.75 |  | 0.75 |  |  | BF = ballast factor
Note: These specifications were developed by the Consortium for Energy Efficiency (CEE) for use in voluntary energy-efficiency programs and are used with their permission. CEE's high-efficiency specifications are periodically revised. For the most current version, please see the CEE Web site (http://www.cee1.org/com/com-lt/com-lt-specs.pdf).
HIGH EFFICIENCY ELECTRONIC BALLASTS ARE REQUIRED FOR ALL T8 FLUORESCENT INSTALLATIONS

## Page 3-HVAC
Electric Efficiency Program (v1.0) | [15 empty] | SS
New Construction/Major Renovation | [10 empty] | Approval Code: |  |  | Rebate Range Calculator |  | SP
Page 3: Cooling Incentive Worksheet | [13 empty] | Do Not Delete |  | HP
PTAC/HP
Unitary Air Conditioner or Heat Pump Incentive
HVAC Typea | Equipment Model Number | ARI Reference No. | Size in Tons | Number of Units Installed | Installed Unit EER | Installed Unit SEER | Rebate Based on EER or SEER | Base Rebate Amount | Bonus Rebate | Your Total Rebate Amount | Annual kWh Saved | Annual Dollars Saved | KW Demand Saved | BTUH Capacity Range | BTUH Range
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1 |  | SS
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1 |  | SP
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1 |  | HP
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1 |  | PTAC
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1 |  | PTHP
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1
[8 empty] | 0 | 0 | 0 |  |  |  | 0 | 1
Packaged Terminal Air Conditioner or Heat Pump (PTAC/PTHP) Incentive | [10 empty] | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
[6 empty] | xxxxxxxx |  | 0 | 0 | 0
PTAC/PTHP Controls Incentive | [5 empty] | Rebate per unit | Enter # of units
Motion Sensor or Card Lock control with setback capabilities | [5 empty] | 75 |  | 0
[7 empty] | TOTAL | 0 | 0 | 0 | 0 | 0 | 0
a. Equipment type: SS=split system, SP=single package, HP=heat pump, PTAC/HP=packaged terminal air conditioner and/or heat pump
Notes:
1. All qualifying "unitary air conditioner or heat pumps" must be of a 3 phase electrical rating. Only "packaged terminal air conditioner or heat pump PTAC/PTHP)" units qualify as 1 phase electrical rated equipment.
2. The annual dollars saved is based on the estimated kWh's saved pertinant to the efficiencey of the equipment selected and number installed. Your actual savings may be more or less depending on occupant use, temperature settings, building type, air delivery system, ventilation control and needs, and weather conditions experienced.
Unitary Air Conditioner / Heat Pump Btuh range and associated EER minimum and rebate:
Range | Low Btu/h | High Btuh | Base SEER | Base EER | Base Rebate |  | Bonus Rebate
1 | 0 | 64999 | 14 | 12 | 65 |  | $4 per ton for each 0.1 EER over 12.0
2 | 65000 | 134999 | 0 | 11 | 50 |  | $4 per ton for each 0.1 EER over 11.0
3 | 135000 | 239999 | 0 | 10.8 | 50 |  | $4 per ton for each 0.1 EER over 10.8
4 | 240000 | >240000 | 0 | 10 | 50 |  | $4 per ton for each 0.1 EER over 10.0
Packaged Terminal Air Conditioner or Heat Pump (PTAC/PTHP) Btuh range and associated EER minimum and rebate:
5 | 0 | >50000 | 0 | 11 | 50 |  | $4 per ton for each 0.1 EER over 11.0

## Page 4-Envelope
Electric Efficiency Program (v1.0)
New Construction/Major Renovation |  |  |  |  | Approval Code:
Page 4: Building Envelope Incentive Worksheet
Building Envelope
Measure | Incentive per unit |  | Criteria (see Notes below) | Insert Component Area Square Footage | Incentive | Annual kWh Saved | Annual Dollars Saved | kW Saved
Window U-value Level 2 | 0.73 | per SF glass | U value 0.3 or less |  |  |  |  | 0
Window SHGC | 0.73 | per SF glass | SHGC 0.25 or less for south, east and west glazing |  |  |  |  | 0
Roof insulation Level 1 | 0.06 | per SF roof | Insulation entirely above deck R-20 c.i. |  |  |  |  | 0
|  |  | Metal building R-13 + R-19 |  |  |  |  | 0
|  |  | Attic and Other R-38 |  |  |  |  | 0
Roof insulation Level 2 | 0.16 | per SF roof | Insulation entirely above deck R-30 c.i. |  |  |  |  | 0
|  |  | Metal building R-19 + R-19 |  |  |  |  | 0
|  |  | Attic and Other R-38 + R-5 c.i. |  |  |  |  | 0
Wall insulation Level 1 | 0.02 | per SF wall | Mass R-12 c.i. |  |  |  |  | 0
|  |  | Metal building R-13 + R-13 |  |  |  |  | 0
|  |  | Steel framed R-13 + R-7.5 c.i. |  |  |  |  | 0
|  |  | Wood framed R-13 + R-4 c.i. |  |  |  |  | 0
Wall insulation Level 2 | 0.03 | per SF wall | Mass R-20 c.i. |  |  |  |  | 0
|  |  | Metal building R-13 + R-19 |  |  |  |  | 0
|  |  | Steel framed R-19 + R-7.5 c.i. |  |  |  |  | 0
|  |  | Wood framed R-19 + R-4 c.i. |  |  |  |  | 0
Cool roof | 0.09 | per SF roof | ENERGY STAR labeled material and application |  |  |  |  | 0
Advanced Air Sealing | 0.03 | per SF building | American Air Barrier Association specifications (http://www.airbarrier.org/specs/index_e.php ) |  |  |  |  | 0
[5 empty] | 0 | 0 | 0 | 0
Notes:
1. Insulation and product rating must be met or exceeded to qualify, no partial improvement can be applied.
2. The c.i. designation stands for Continuous Insulation. This is insulated sheathing panels completely covering the exterior side of the steel framing or mass wall thus providing a continuous thermal break to the outside.
3. For metal roofs, level 1 or level 2, the recommended construction is standing-seam roofs with two layers of blanket insulation. The first layer is draped perpendicularly over the purlins with enough looseness to allow the second insulation layer to be laid above it, parallel to the purlins.
4. For steel framed walls, level 1 or level 2, the first layer is installed continuously perpendicular to the exterior of the girts and is compressed as the metal skin is attached to the girts. The second layer of insulation is installed parallel to the girts within the framing cavity.
5. Savings in energy expressed in kWh and kW amounts are based on energy models for a reference building which may be different from yours. A more representative energy savings amount should fall in the range of 80 to 120 percent of the stated energy savings .

## Page 5-Food Service
Electric Efficiency Program (v1.0) |  |  |  | 0
New Construction/Major Renovation |  |  |  | Approval Code: | 0
Page 5: High Efficiency Food Service Equipment
New High Efficiency Equipment* | Rebate per Unit | # Units | Total Potential incentive | Minimum Required Citeria (see below for qualifying models) | Average Annual Electric Cost Savings**
[6 empty] | Annual cost savings/Unit | total cost savings | kWh savings | Total kWh Savings
High Efficiency Ice Machine (kWh/100 lbs of ice) | 300 |  |  | CEE Tier 3 | 150 | 150 | 0 | 3000 | 0
High Efficiency Ice Machine (kWh/100 lbs of ice) | 200 |  |  | CEE Tier 2 or ENERGY STAR | 100 | 100 | 0 | 2000 | 0
Insulated Hot Food Holding Cabinets (min 7 cu ft) | 300 |  |  | ENERGY STAR | 334 | 334 | 0 | 6700 | 0
Reach-In Refrigerators & Freezers (< 19 ft3) (glass or solid door) | 50 |  |  | CEE Tier 2 | 31.5 | 31.5 | 0 | 585 | 0
Reach-In Refrigerators & Freezers (19 - 30 ft3) (glass or solid door) | 75 |  |  | CEE Tier 2 | 34 | 34 | 0 | 700 | 0
Reach-In Refrigerators & Freezers (31 - 60 ft3) (glass or solid door) | 100 |  |  | CEE Tier 2 | 43 | 43 | 0 | 900 | 0
Reach-In Refrigerators & Freezers (61 - 90 ft3) (glass or solid door) | 125 |  |  | CEE Tier 2 | 65 | 65 | 0 | 1250 | 0
Electric Steamers | 250 |  |  | ENERGY STAR | 185 | 185 | 0 | 3749 | 0
Electric Fryers | 75 |  |  | ENERGY STAR | 43 | 43 | 0 | 900 | 0
Electric Griddles | 150 |  |  | ENERGY STAR (> 70% HL Eff) | 82 | 82 | 0 | 1600 | 0
Combination Ovens - Electric | 1000 |  |  | ENERGY STAR (> 70% HL Eff) | 600 | 600 | 0 | 12000 | 0
Convection Ovens - Electric | 225 |  |  | ENERGY STAR (> 70% HL Eff) | 115 | 115 | 0 | 2260 | 0
Vent Hood Controls | [6 empty] | 0 |  | 0
Vent Hood Controls with VFD fans & sensors -- per hp (enter total exhaust fan horsepower) | 200 |  |  | Recommend using qualified installer | 114 | 114 | 0 | 0 | 0
Are there MUA fans controlled? (select yes or no) | No | [5 empty] | 0 |  | 0
Total potential incentive on page 10 must be a minimum of $50 to qualify. Rebate cannot exceed project cost. | Total | 0 | 0 |  |  |  | 0 |  | 0
Minimum Required Citeria Reference | Website Links |  | Description
CEE Tier 2 & 3 Qualifying Model Lists www.cee1.org | CEE1 Com. Kitchen Equip. Homepage |  | Visit the Consortium for Energy Efficiency (CEE) website for a list of all CEE qualifying kitchen equipment; including Tiers 2 & 3.
ENERGY STAR Qualifying Model Lists | ENERGY STAR Commercial Food Service and Other Equipment |  | ENERGY STAR website homepage to find ENERGY STAR qualifying equipment models
ASTM (American Society of Testing Materials) Heavy Load Efficiency Ratings | Performance Testing for Food Service Appliances |  | Food Service Tech. Center (FSTC) operated by Fisher-Nickel Inc., performs commercial kitchen appliance performance & efficiency testing; including listing heavy load efficiency ratings for electric griddles and ovens
General Energy Savings Calculators www.fishnick.com | Energy Efficient Kitchen Savings Estimator |  | Interactive FSTC commercial kitchen equipment interactive web-based tool, displaying estimated savings with energy efficient appliances.
* Rebates are avaialable for NEW equipment only. Used or refurbished equipment does not qualify.
** Annual cost and kWh savings are based on typical restaurant savings and average energy rate of $0.06 per kWh. Results may vary for your business.
Yes
No

## Page 6-Grocery
Electric Efficiency Program (v1.0) |  |  |  | 0
New Construction/Major Renovation |  |  |  | Approval Code: | 0
Page 6: High Efficiency Grocery Equipment
High Efficiency Equipment Upgrades | Rebate per Unit | # Units | Unit of measure | Potential Incentive | Total Annual Electric Cost Savings* | kWhSavings /unit | Total kWh Savings/yr | Demand Savings (kW)
New Reach-in or Open Display Cases
Zero Energy Doors w/ No ASH <1> | 75 |  | door |  | 46 | 810 | 0 | 0.1175 | 46 | 0
LED Case Lighting <2> | 40 |  | lamp |  | 35 | 592 | 0 | 0.08 | 35 | 0
EC Motors in Display Cases <3> (electronically commutated motor) | 30 |  | motor |  | 17 | 312.6957 | 0 | 0.032906 | 17 | 0
EC Motor compressor head cooling fans <4> | 50 |  | motor |  | 42.5 | 778 | 0 | 0.12 | 42.5 | 0
Night Covers – Vertical or Horizontal | 10 |  | ln ft case |  | 15 | 250 | 0 | 0 | 15 | 0
New Walk-in or Refrigerated Warehouse
Zero Energy Doors w/ No ASH <1> | 50 |  | door |  | 36 | 629.268 | 0 | 0.0468 | 36 | 0
LED Case Lighting <2> | 40 |  | lamp |  | 35 | 592 | 0 | 0.08 | 35 | 0
Hardwired T8 Fixture in Walk-in cooler/freezer | 15 |  | lamp |  | 35.5 | 616.266 | 0 | 0.067 | 35.5 | 0
Screw-in CFL for walk-in cooler/freezer | 1 |  | lamp |  | 37 | 671.454 | 0 | 0.073 | 37 | 0
Smart Defrost Control Walk-in Freezer <5> | 150 |  | controller |  | 79 | 1500 | 0 | 0 | 79 | 0
Outside Air Economizers for Walk-ins <6> (walk-in must be ≥ 1,000 cu. ft.) | 1250 |  | Unit |  | 656.5 | 12500 | 0 | 0 | 656.5 | 0
Total potential incentive on page 10 must be a minimum of $50 to qualify. Rebate cannot exceed project cost. | Total | 0 |  | 0 |  |  | 0 |  |  | 0
* Annual cost and kWh savings are based on a typical grocery store savings and average energy rate of $0.06 per kWh. Results may vary for your business.
Custom Incentives may be available for the following measures
High efficiency compressors, Evaporative & Air Cooled Condensers, Floating Head Pressure and Suction Pressure; Air-Cooled to Evap-Cooled Condenser conversion on multiplex or stand alone systems; VFDs for motors and compressors.
Custom rebates require pre-approval and are based on $0.10 per Annual kWh Savings. Enter custom incentive on "Page 9-Custom" of this workbook.
Required Specifications & Definitions
<1> Zero Energy Doors w/ No ASH: Triple-pane glass with either heat-reflective treated glass or gas fill and are equipped with no anti-sweat heaters for reach-in glass doors coolers and freezer installations.
<2> LED Case Lighting: Must install LED case lighting. New case equipped with LED lighting. Rebate applies to new display cases and/or new walk-in or warehouse coolers/freezers.
<3> EC Motors in Display Cases: Must be equipped with electronically commutated motor (ECM) in display case coolers/freezers. Rebate only applies to enew display cases for less than one horsepower motors.
<4> EC Motors on compressor head fans: Compressor head-cooling fan motors must be equipped with electronically commutated motors. Motor must take place on low temperature reciprocating compressor systems with existing 35-55 watt output head fan motors. Compressors must be an integral part of a refrigeration system with a remote air cooled or evaporative condenser. New ECM motor may not be more than 20 watt output. Must install, or be equipped with, electronically commutated motor (ECM) on compressor head fans in walk in coolers.
<5> Smart Defrost Controls (on Walk-In Freezer Condensing Unit) Eligible technologies will use mini-processors to sense temperature and pressure and monitor the system operation to determine the need for a defrost cycle for the condensiong unit and provide electric defrost only when necessary. (Systems typically work with existing timed defrost controllers). Eligible technologies must be electric defrost controllers and have third party operational verification testing data. Rebate requires controlling a condensing unit horsepower rating of 1.5 or greater.
<6> Outside Air economizers ≥ 1,000 cu. ft. Outdoor air and exhaust dampers must close automatically for summer isolation. Eligible equipment must be capable of using outdoor air of less than 34° F while maintaining the set point of the cooler. Please include the walk-in box volume (L x W x H) dimensions. Walk-in coolers smaller than 1,000 cu. ft. are not eligible for rebates.

## Page 7-Office Equip
Electric Efficiency Program (v1.0) |  |  | 0
New Construction/Major Renovation |  |  | Approval Code: | 0
Page 7: High Efficiency Office Equipment & Controls
High Efficiency Equipment | Rebate per Unit | # Unit | Total Potential Rebate | Total Annual Electric Cost Savings | kWh savings per unit | Total kWh savings | Cost savings per unit | Total Cost Savings
New Compact Fluorescent Desk Lamp (32 Watt Max) | 15 |  |  | 12 | 213.5 | 0 | 12 | 0
New ENERGY STAR LED Desk Lamp | 15 |  |  | 12 | 217 | 0 | 12 | 0
New ENERGY STAR LED Undercabinet Fixture | 5 |  |  | 2 | 31.125 | 0 | 2 | 0
Screw in ENERGY STAR Compact Fluoresent Lamp (CFL) | 1 |  |  | 5 | 90 | 0 | 5 | 0
New Fluorescent Torchiere - 55 Watt Max | 20 |  |  | 11 | 200 | 0 | 11 | 0
New ENERGY STAR v4.0 desktop or side computer | 5 |  |  | 3 | 50 | 0 | 3 | 0
Proposed New Controls
Smart Strip Energy Efficient Surge Protector* | 7 |  |  | 7.5 | 132 | 0 | 7.5 | 0
Plug Strip w/ Motion Sensor | 15 |  |  | 9 | 200 | 0 | 9 | 0
Bathroom Motion Sensor Nightlight | 15 |  |  | 8 | 150 | 0 | 8 | 0
Vending Machine Occupancy Control | 90 |  |  | 43 | 900 | 0 | 43 | 0
Total potential incentive on page 10 must be a minimum of $50 to qualify. Rebate cannot exceed project cost. | Totals | 0 | 0 |  |  |  | 0 | 0
* Check manufacturer specifications to verify that surge protector is appropriate for equipment and appliances that will be plugged in and will protect at lower power surges.
** Annual cost and kWh savings are based on a typical office application and average energy rate of $0.05 per kWh. Results may vary for your business.

## Page 8-Motors
Electric Efficiency Program (v1.0)
New Construction/Major Renovation | [5 empty] | Approval Code:
Page 8: Motor Incentive Worksheet
Incentives for NEMA Premium Efficiency Motors | [9 empty] | Baseline Efficiency Assumptions for Savings Calculations (EPACT 1992)
| Open Drip-Proof (ODP) |  |  |  | Totally Enclosed Fan-Cooled (TEFC) | [5 empty] | Open Drip-Proof (ODP) |  |  | Totally Enclosed Fan-Cooled (TEFC)
Poles | 2 | 4 | 6 | Incentive | 2 | 4 | 6 | Incentive |  | Poles | 2 | 4 | 6 | 2 | 4 | 6 | Motor Operation
Speed (RPM) | 3600 | 1800 | 1200 | ($/motor) | 3600 | 1800 | 1200 | ($/motor) |  | Speed (RPM) | 3600 | 1800 | 1200 | 3600 | 1800 | 1200 | Load | Annual
Motor Horsepower | [9 empty] | Motor Horsepower | [6 empty] | Factor | Hours
1 | 77 | 85.5 | 82.5 | 12 | 77 | 85.5 | 82.5 | 11 |  | 1 | 75.5 | 82.5 | 80 | 75.5 | 82.5 | 80 | 62.9% | 2895
1.5 | 84 | 86.5 | 86.5 | 13 | 84 | 86.5 | 87.5 | 12 |  | 1.5 | 82.5 | 84 | 84 | 82.5 | 84 | 85.5 | 62.9% | 2895
2 | 85.5 | 86.5 | 87.5 | 16 | 85.5 | 86.5 | 88.5 | 16 |  | 2 | 84 | 84 | 85.5 | 84 | 84 | 86.5 | 62.9% | 2895
3 | 85.5 | 89.5 | 88.5 | 30 | 86.5 | 89.5 | 89.5 | 19 |  | 3 | 84 | 86.5 | 86.5 | 85.5 | 87.5 | 87.5 | 62.9% | 2895
5 | 86.5 | 89.5 | 89.5 | 32 | 88.5 | 89.5 | 89.5 | 32 |  | 5 | 85.5 | 87.5 | 87.5 | 87.5 | 87.5 | 87.5 | 62.9% | 2895
7.5 | 88.5 | 91 | 90.2 | 49 | 89.5 | 91.7 | 91 | 43 |  | 7.5 | 87.5 | 88.5 | 88.5 | 88.5 | 89.5 | 89.5 | 58.85% | 3412
10 | 89.5 | 91.7 | 91.7 | 57 | 90.2 | 91.7 | 91 | 54 |  | 10 | 88.5 | 89.5 | 90.2 | 89.5 | 89.5 | 89.5 | 58.85% | 3412
15 | 90.2 | 93 | 91.7 | 75 | 91 | 92.4 | 91.7 | 66 |  | 15 | 89.5 | 91 | 90.2 | 90.2 | 91 | 90.2 | 58.85% | 3412
20 | 91 | 93 | 92.4 | 100 | 91 | 93 | 91.7 | 102 |  | 20 | 90.2 | 91 | 91 | 90.2 | 91 | 90.2 | 58.85% | 3412
25 | 91.7 | 93.6 | 93 | 114 | 91.7 | 93.6 | 93 | 93 |  | 25 | 91 | 91.7 | 91.7 | 91 | 92.4 | 91.7 | 62.9% | 3855
30 | 91.7 | 94.1 | 93.6 | 125 | 91.7 | 93.6 | 93 | 112 |  | 30 | 91 | 92.4 | 92.4 | 91 | 92.4 | 91.7 | 62.9% | 3855
40 | 92.4 | 94.1 | 94.1 | 133 | 92.4 | 94.1 | 94.1 | 133 |  | 40 | 91.7 | 93 | 93 | 91.7 | 93 | 93 | 62.9% | 3855
50 | 93 | 94.5 | 94.1 | 182 | 93 | 94.5 | 94.1 | 182 |  | 50 | 92.4 | 93 | 93 | 92.4 | 93 | 93 | 62.9% | 3855
60 | 93.6 | 95 | 94.5 | 196 | 93.6 | 95 | 94.5 | 196 |  | 60 | 93 | 93.6 | 93.6 | 93 | 93.6 | 93.6 | 60.2% | 4961
75 | 93.6 | 95 | 94.5 | 202 | 93.6 | 95.4 | 94.5 | 235 |  | 75 | 93 | 94.1 | 93.6 | 93 | 94.1 | 93.6 | 60.2% | 4961
100 | 93.6 | 95.4 | 95 | 313 | 94.1 | 95.4 | 95 | 256 |  | 100 | 93 | 94.1 | 94.1 | 93.6 | 94.5 | 94.1 | 60.2% | 4961
125 | 94.1 | 95.4 | 95 | 320 | 95 | 95.4 | 95 | 319 |  | 125 | 93.6 | 94.5 | 94.1 | 94.5 | 94.5 | 94.1 | 69.65% | 5288
150 | 94.1 | 95.8 | 95.4 | 365 | 95 | 95.8 | 95.8 | 345 |  | 150 | 93.6 | 95 | 94.5 | 94.5 | 95 | 95 | 69.65% | 5288
200 | 95 | 95.8 | 95.4 | 484 | 95.4 | 96.2 | 95.8 | 524 |  | 200 | 94.5 | 95 | 94.5 | 95 | 95 | 95 | 69.65% | 5288
Incentive Calculations | [9 empty] | Effective energy rate ($/kWh) |  | 0.055
Please fill in the chart below using information from the chart above.
Motor Function/ID | Quantity | HP | RPM | Type ODP/TEFC | NEMA % Efficiency | Incentive per motor | Total Incentive | Total Annual kWh Saved | Total Annual Dollars Saved | Baseline Efficiency | Dmd Savings (kW)
Totals | 0 | [5 empty] | 0 | 0 | 0 | TOTAL kW Saved | 0
Note: Savings estimates are in comparison to a new, standard-efficiency motor and are based on common motor operating conditions.
Your results may vary.

## Page 9-Custom
Electric Efficiency Program (v1.0)
New Construction/Major Renovation | [7 empty] | Approval Code:
Page 9a-Custom Incentive Worksheet | [5 empty] | Customer name: | [5 empty] | PROPOSED MEASURE
Cooling - Chiller Replacement
Proposed Efficiency Measures and Installation Schedule | [11 empty] | Cooling - Package AC Replacement
Cooling - Other (please describe)
Measure Number |  | Proposed Measures (select from list and describe in more detail in section below) | [5 empty] | Projected Installation Start Date |  | Projected Installation Completion Date |  | Lighting - Efficiency (lamps/ballasts)
1 | [11 empty] | Ventilation System Conversion to VAV
2 | [11 empty] | High-efficiency Motors
3 | [11 empty] | High-efficiency Motors w/ VSD
4 | [11 empty] | Industrial Process (please describe)
5 | [11 empty] | Other (please describe)
6
7
8
Efficiency Measure Description
In this section, please describe the scope of the project in summary form, including the following: a description of each proposed measure, the affected system(s), the affected facility(ies), what activities will be performed by the Participant, and the estimated energy and demand savings. Add as many additional lines or attach additional sheets as necessary.
Savings Calculations
Project savings estimates (energy and demand) are used to determine the project incentive (see page 2). Please include documentation that supports the estimated savings listed for each measure. This should include a list of assumptions, methods, and equations used in the estimate. Attach separate sheets and/or electronic files as necessary. All savings calculations should include as much of the information listed below as possible, preferably in electronic format.
Contact Platte River Energy Services if you have questions or need assistance documenting the savings estimates.
Suggested format for presenting peak demand and annual energy usage estimation methods:
1. | Show all formulas |  |  |  |  | 5. | Provide all data inputs (raw and summarized)
2. | Identify and describe all dependent variables |  |  |  |  | 6. | Show energy consumption calculations and results
3. | Identify and describe all independent variables |  |  |  |  | 7. | Show savings calculations and results
4. | List assumptions (including associated justification)
Please describe supporting documentation being provided:
Project Implementation Cost Estimates
Please include documentation that supports the estimated implementation costs listed for each of the measures. Suitable documentation includes bids from contractors and/or quotes from equipment suppliers. In-house estimates can be submitted for items that do not have bids or quotes that are readily available. Such estimates should show costs for equipment and labor separately. These costs should be broken down further by equipment type or major labor task. Attach additional pages as necessary.
Please describe supporting documentation being provided:
Electric Efficiency Program
New Construction/Major Renovation | [7 empty] | Approval Code: |  | 0
Page 9b-Custom Incentive Worksheet
Determine the Incentive Based on Project Savings and Project Implementation Cost
Please complete the table below for each measure to be performed under the project. Cells in gray are calculated automatically. The "Measure Number" and "Proposed Measures" columns reference information page 6. The following program rules must be considered when estimating savings and incentives:
1. | The Nominal Incentive is the greater of the Energy Incentive or the Demand Incentive:
| a. | The Energy Incentive is $0.10 per annual kWh saved.
| b. | The Demand Incentive is $500 per kW saved during the Summer Peak Period (Monday through Friday, 3 to 6 p.m., June through August). The demand savings must be the hour-average demand savings that would be measured with a power meter. Therefore, the estimate should take into account the actual use of the affected equipment (e.g., duty cycle during, on/off cycling or other forms of capacity modulation, etc.).
2. | The Actual Incentive is the lesser of the Nominal Incentive and the two following incentive caps:
| a. | 60% of project cost: The total project incentive shall not be greater than 60% of the total cost to implement the project.
| b. | One-year simple payback period: The total project incentive shall not be greater than that which reduces the simple payback period of the project to one year.
3. | An additional cap of $70,000 per customer, per year may also be applied to ensure the program budget is distributed among several customers and to reduce risk that a significant portion of the program's funds fail to be used if the project is not completed. This cap may be waived at Platte River's discretion, pending availability of funds. Contact Platte River Energy Services for more information.
4. | Platte River will not support projects in cases where simple payback between the baseline and the difference in cost to upgrade to the high efficiency alternative is greater than the products performance life.
Incentive Determination
Measure Number |  | Proposed measures (from Project Description Form) |  | Baseline Measure |  | Energy Efficient Measure |  | Peak-period demand reduction (kW) | Annual electricity savings (kWh) | Annual energy and demand cost savings estimate | Cost difference between baseline measure and energy efficient measure
|  |  |  | Average peak-period demand (kW) | Annual electricity usage (kWh) | Average peak-period demand (kW) | Annual electricity usage (kWh)
1 | [7 empty] | 0 | 0
2 | [7 empty] | 0 | 0
3 | [7 empty] | 0 | 0
4 | [7 empty] | 0 | 0
5 | [7 empty] | 0 | 0
6 | [7 empty] | 0 | 0
7 | [7 empty] | 0 | 0
8 | [7 empty] | 0 | 0
TOTALS |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Incentive ($500/kW) |  |  | 0
Energy Incentive ($/(kWh/yr) |  |  | 0
Nominal Incentive |  |  | 0
Incentive caps:
60% of project cost |  |  | 0
One-year simple payback cost |  |  | 0
Per-customer, per-year |  |  | 70000
ACTUAL INCENTIVE |  |  | 0
NOTE: All projects with custom measures require pre-approval.

## Page 10-Request for Payment
Electric Efficiency Program (v1.0)
New Construction/Major Renovation | [6 empty] | Approval Code:
Page 10a: Request For Payment Form
Including Terms and Conditions
Incentive Summary
Measure |  | Your Incentive* | Annual kWh Savings** | Annual Electric Cost Savings
Efficient Lighting |  | 0
Daylighting controls |  | 0 |  |  |  |  | Some projects require pre-approval by Platte River, such as:
HVAC |  | 0
Envelope |  | 0 |  |  |  |  | l Any project with a total potential incentive over $1,000 l All projects with custom measures
Food Service |  | 0
Grocery |  | 0
Office Equipment |  | 0
Efficient Motors |  | 0
Custom Measures |  | 0
TOTALS |  | 0 | 0 | 0
*Incentives are calculated on the worksheets found in this spreadsheet.
** Annual kWh savings are based on typical energy savings for that application. Results may vary for your business.
Required Documentation
1. | Please provide documentation for measures listed above. This should include associated worksheets if applicable, design drawings and/or specifications. Platte River may follow up with requests for documentation showing proper installation and operation of systems and equipment, such as a start-up or commissioning report. Custom incentive must be accompanied with engineering data illustrating projected energy savings and estimated installation costs.
2. | Must provide copies of all pertinent sales invoices, as may be requested by Platte River.
3. | Include a completed IRS W-9 form with application for the payment recipient, found at this website: | [5 empty] | http://www.irs.gov/pub/irs-pdf/fw9.pdf?portlet=3
4. | Return application materials to: |  |  |  | Contact information:
| Platte River Power Authority |  |  |  | Telephone: | (970) 226-4000
| Attn: Energy Services |  |  |  | Fax: | (970) 229-5244
| 2000 E. Horsetooth Rd. |  |  |  | Email: | electricefficiency@prpa.org
Fort Collins, Colorado 80525-5721
Terms and Conditions
1. | The undersigned hereby certifies that the project has been completed as described in this application. In particular, the equipment is operational; the application accurately describes the new equipment; all equipment quantities are correct; and the attached invoices accurately reflect the project costs.
2. | Upon Platte River’s request and reasonable notice, Platte River representatives will be given access to the project site so they may verify equipment installation, characteristics, quantities, and performance.
3. | Incentives are based on the projected energy savings and the estimated installation costs of the project, which may be found by Platte River, in its sole discretion, to be different from the values shown in the application. If this occurs, Platte River will provide notification of the difference and give the Participant, contractor, or vendor the opportunity to ask for a review of the findings or to remedy the discrepancy before adjusting the incentive.
4. | Platte River does not guarantee the estimated energy cost savings. Furthermore, Platte River makes no warranties for materials provided by or work performed by Participant’s contractors, vendors, consultants, or Participant’s own employees. Platte River is not responsible for errors in or misrepresentations of the incentive amount by contractors, consultants, or vendors.
5. | Participant is responsible for securing any permits for work funded through this program as required by local codes. Participant shall comply with all applicable federal, state, and local regulations, requirements, ordinances, and statutes.
6. | Participant agrees to ensure that potentially hazardous or regulated wastes (e.g., PCB-containing ballasts, fluorescent lamps, high-intensity discharge lamps, etc.) are handled and disposed of in compliance with applicable federal, state, and local laws and regulations.
7. | Participant agrees that participation in this program shall impose no liability on Platte River. In consideration of receiving the incentives stated herein, Participant hereby RELEASES, WAIVES, DISCHARGES AND COVENANTS NOT TO SUE Platte River, its officers, agents, servants, or employees (hereinafter referred to as RELEASEES) from any and all liability, claims, demands, actions and causes of action whatsoever arising out of or related to any loss, damage or injury, including death that may be sustained by Participant, or any property belonging to Participant, WHETHER CAUSED BY THE NEGLIGENCE OF THE RELEASEES, OR OTHERWISE, relating to the project that is the subject of this Agreement, the performance of the Measures, or the provision of assistance and incentive including, but not limited to, anticipated loss of profits or revenues, consequential damages, or costs related to the improper handling, storage, disposal of or exposure to substances currently or hereafter characterized as hazardous or toxic. Participant further agrees to HOLD HARMLESS RELEASEES from any loss, liability, damage or costs, including court costs and attorney fees, that may incur due to Participant’s participation in the Electric Efficiency Program, WHETHER CAUSED BY THE NEGLIGENCE OF THE RELEASEES OR OTHERWISE. Participant further hereby affirms that it is his or her express intent that this Waiver of Liability and Hold Harmless Agreement shall bind the member of Participant’s family, heirs, assigns and personal representatives and shall be deemed their RELEASE, WAIVER, DISCHARGE AND COVENANT NOT TO SUE the RELEASEES. By signing below Participant acknowledges that Participant agreed to this Waiver of Liability and Hold Harmless Agreement voluntarily as Participant’s own free act, that no oral representations, statements or inducements, apart from this Agreement, have been made, and that Participant is at least eighteen (18) years of age and fully competent and intending to be bound by same.
Electric Efficiency Program (v1.0)
New Construction/Major Renovation | [6 empty] | Approval Code: | 0
Page 10b: Request For Payment Form (Continued)
Terms and Conditions (Continued)
8. | Payments provided by utilities (including Platte River) to Participants for the purchase or installation of energy conservation measures may in some circumstances be considered as (partially) taxable income by the IRS. Participants or their assigns receiving incentive payments totaling $600 or more during a program year and who are not organized as a corporation will receive a 1099-MISC from Platte River in January or February of the subsequent year. Participant, or alternate payment recipient, may wish to consult a tax advisor on this matter.
9. | In compliance with C.R.S. §24-76.5-101, et seq., as amended, Platte River will require Participants who are individuals or sole proprietors (i.e., not corporations or partnerships) applying for incentives to prove their lawful presence in the United States. To do so, the Participant will be required to provide identification set forth in C.R.S. §24-76.5-103(4), as amended, in addition to a signed affidavit indicating his or her lawful presence. Platte River cannot provide an incentive to a Participant who is unwilling or unable to meet this requirement.
10. | Incentive funds will be reserved for no later than 45 days beyond the estimated completion date listed in this applicationnor beyond 45 days of building ocupancy for new construction/major renovation projects (specified on page 1). Participant shall notify Platte River immediately if completion of the project is expected to be delayed beyond this time. Platte River will seek to provide funds for projects that are delayed, provided such funds are available, but is under no obligation to do so.
11. | Participants shall require that all parties implementing the proposals and/or installing the Measures that are the subject to this Agreement maintain comprehensive general liability insurance in amounts not less than $500,000 each person/$1,000,000 each occurrence for bodily injury, and $500,000 each occurrence/$1,000,000 in aggregate for property damage.
PARTICIPANT:
I have read, understood, agree and possess the authority to execute this Request for Payment Form in relation to the terms and conditions listed above.
Signature: |  |  |  |  | Date:
Name: |  |  |  |  | Phone:
Title:
Business:
Address:
Fed. Tax Id.
Alternate Incentive Payment Recipient
Complete this section only if you want the incentive payment to go to someone other than the Eligible Utility Customer listed on Page 1.
Contact Person:
Title:
Company:
Mailing Address:
City and State:
Phone:
Comments:
I authorize Platte River Power Authority to make the incentive payment to the identified party above.
Signature: |  |  |  |  | Date:
Name: |  |  |  |  | Phone:
Title: