# SPRING 2025 WATER QUALITY UPDATE

Upper Cache la Poudre Watershed Collaborative Monitoring Program

# Source Water Monitoring

The Upper Cache la Poudre (CLP) Watershed Collaborative Water Quality Monitoring Program is a partnership between the cities of Fort Collins, Greeley, and Thornton, Soldier Canyon Water Treatment Authority, and Northern Colorado Water Conservancy District. The goal of the program is to help these water providers meet current and future drinking water treatment goals.

Water quality monitoring of our raw, CLP River drinking water supply is conducted from April through November using sites strategically located throughout the watershed. Water quality data provides valuable information about the health of our source watershed and quality of our raw water supply. In addition, two water quality instruments provide real-time water quality data, which are intended to assist water treatment staff with responding to chemical spills, post-fire sedimentation and other pollution events.

The Spring 2025 Water Quality Update provides a seasonal summary of watershed conditions in the Upper CLP watershed by highlighting weather, snowpack and streamflow conditions over the spring season (March – May), as well as water quality data collected over the months of April and May.

Water quality during spring snowmelt runoff is highly variable. To better capture this seasonal variability, monitoring is conducted two times per month. Results are reported for six key monitoring sites located throughout the Upper CLP watershed. Monitoring sites capture water quality conditions above and below major tributaries and near water supply intake structures (Figure 1). Current water quality conditions are compared to baseline water quality conditions collected over the period of 2008 to 2012.

Figure 1 – Upper Cache la Poudre Collaborative Monitoring Program water quality sampling sites and Indian Meadows and Manners Bridge real-time water quality instrument locations (shown in red).

JWC - Joe Wright Creek above the confluence with the Poudre River
PJW - Poudre River above the confluence with Joe Wright Creek
PBR - Poudre River below Rustic PSF - Poudre River below the confluence with the Little South Fork
PNF - Poudre River above the confluence with the North Fork at the City of Fort Collins’ Intake
PBD - Poudre River below the confluence with the North Fork at the Bellvue Diversion

# Temperature

The average of 2025 Spring air temperatures, as measured at the Joe Wright Snowpack Telemetry (SNOTEL), was nearly identical to the long-term 30-year average (1991-2020). The monthly average air temperature was also at or near the long-term average in all spring months – March (100%), April (99%), and May (96%) (Table 1).

| Period of Record | Average Temperature |  |  |  |
| --- | --- | --- | --- | --- |
|  | 2025 (ºF) | Long-term (ºF) | Departure (ºF) | % of Long-term |
| March | 25.3 | 25.2 | 0.1 | 100% |
| April | 30.1 | 30.5 | -0.4 | 99% |
| May | 37.1 | 38.5 | -1.4 | 96% |
| Spring | 30.8 | 31.4 | -0.6 | 98% |

Table 1 – Monthly average air temperatures measured at the Joe Wright SNOTEL over the spring months of 2025 compared to the long-term average (1991 – 2020).

# Precipitation

The total precipitation measured at the Joe Wright SNOTEL over the 2025 spring season was below normal at 87% of the long-term average (1991-2020). Total precipitation was above average in March (113%), notably below average in April (57%), and near average in May (98%). The month of April ranked as the 5th driest on record (out of 46 years) (Table 2). Moderate drought conditions were prevalent throughout the Upper CLP watershed at the beginning of March, with the North Fork CLP experiencing extreme drought conditions. The return of near average temperatures and precipitation at the end of May diminished drought conditions across much of the Upper CLP. However, portions of the watershed, including the North Fork CLP, still experienced abnormally dry to severe drought at the end of the 2025 spring season (Figure 2).

| Period of Record | Total Precipitation |  |  |
| --- | --- | --- | --- |
|  | 2025 (inches) | Average (inches) | % of Average |
| March | 5.1 | 4.5 | 113% |
| April | 3.2 | 5.7 | 57% |
| May | 4.2 | 4.3 | 98% |
| Spring | 12.5 | 14.4 | 87% |

Table 2 – Monthly accumulated precipitation totals measured at the Joe Wright SNOTEL over the 2025 spring season compared to the long-term average (1991 – 2020).

Figure 2 – Drought conditions for the State of Colorado as monitored by the United States Drought Monitor on March 4, 2025 (left), and May 27, 2025 (right) (map source: https://droughtmonitor.unl.edu/).

# Snowpack

Snow water equivalent (SWE) is a measure of the amount of water held in the snowpack. SWE at the Joe Wright SNOTEL station near Cameron Pass was below normal (defined as the median calculated over the 1991 – 2020 measurement period) for the 2025 snow accumulation season (October 2024 – May 2025). Monthly maximum SWE was near normal from November through April, but below normal in October and May at only 40% and 85% of the historic median, respectively. The maximum amount of water contained in the snowpack, referred to as peak SWE, occurred on April 7th, a month earlier than usual, and measured 23.8 inches – 99% of normal. SWE at the Joe Wright SNOTEL decreased rapidly during snowmelt runoff in late-April but was temporarily bolstered by late-season storms in mid-May (Figure 3). Peak SWE across the entire Upper CLP watershed measured near or below normal. The Mainstem and South Fork CLP watersheds measured near normal (104% and 96%, respectively), while the North Fork CLP watershed measured below normal (88%) (Figure 4).

Figure 3 – SWE measured at the Joe Wright SNOTEL site from October 2024 through May 2025 compared to the historic median (1991-2020)

Figure 4 – Peak SWE measured at snowpack monitoring sites throughout the Upper Cache la Poudre River watershed over the 2025 snow accumulation season (October 2024 – May 2025) accumulation season (October 2024 – May 2025).

# Streamflow Conditions

Cache la Poudre (CLP) River streamflows were measured using the CLAFTCCO stream gage near the canyon mouth. Streamflows measured 49,099 acre-feet of water over the spring season, which was 72% of the long-term average (calculated over the 1881 – 2024 measurement period). Snowmelt runoff began in early April and increased rapidly during May. Streamflow measured near average in March (91%), above average in April (120%) and well-below average in May (64%) (Figure 5).

Weather shifts in mid-May brought freezing temperatures that slowed snowmelt at high elevations, likely contributing to the observed reductions in late-spring streamflow. High-elevation stream gages (LAPLODCO, LAPTUNCO, CLASRKCO) indicate that La Poudre Pass below Long Draw Reservoir, the Laramie River Tunnel and the South Fork CLP below Jacks Gulch experienced drops in streamflow with the onset of cold conditions in mid-May.

Additionally, no releases were made to the North Fork CLP from Milton-Seaman Reservoir (CLANSECO) during the 2025 spring season, when release flows are typically highest. Reduced streamflow contributions from the North Fork CLP likely resulted in lower-than-typical flow conditions in the Mainstem CLP.

Figure 5 – Streamflow conditions at Cache la Poudre River near the Canyon Mouth (CLAFTCCO) stream gage over the 2025 spring season (left) and monthly total water volume measured over the spring season (right). Purple circles represent water quality sampling events.

# Water Quality Indicators

The Upper CLP Collaborative Water Quality Monitoring Program uses several key water quality indicators, including pH, conductivity, temperature, and turbidity, as surrogates for other parameters. (Table 3). These indicators provide a snapshot of water quality conditions and are useful for identifying trends or changes in water quality. Significant changes in these water quality indicators may provide an early warning of potential water pollution.

| Water Quality Indicator | Explanation |
| --- | --- |
| Temperature | Water temperature influences other water quality parameters and is a major driver of biological activity and algal growth in rivers, including certain phytoplankton and benthic species that can produce the taste and odor compounds, geosmin and 2-methlyisoborneol. |
| pH | pH is an important water quality parameter to monitor, because it influences the solubility and biological availability of chemical constituents, including nutrients and heavy metals. pH near 7 is considered neutral, with more acidic conditions occurring below 7 and more basic, or alkaline, conditions occurring above 7. |
| Specific Conductivity | Conductivity is an index of dissolved ionic solids in water. Conductivity is used as a general measure of water quality. Significant increases in conductivity can be used as an indicator of increased pollution. |
| Turbidity | Turbidity is a measure of water clarity. Clarity is influenced by the presence of algae and/or suspended solids introduced to surface waters through various land use activities, including runoff and erosion, urban stormwater runoff and drainage from agricultural lands. For water treatment, turbidity is an important indicator of the amount of suspended material that is available to harbor pollutants, such as heavy metals, bacteria, pathogens, nutrients and organic matter. |

Table 3 – Key water quality indicators measured as part of the Upper Cache la Poudre Collaborative Water Quality Monitoring Program.

Spring water quality monitoring captures conditions associated with snowmelt runoff. During the spring season, water quality in the CLP River is largely driven by the timing, duration, and magnitude of snowmelt runoff. Water quality conditions also vary with changes in elevation, contributing watershed areas and potential pollution events.

Nearly all water quality indicators at key sites along the CLP River were within the baseline range of values over the 2025 spring season (Figure 6). Water temperature was near normal (defined as the median baseline value) at all key monitoring sites except for in Joe Wright Creek (JWC) where water temperatures were higher than normal. pH and specific conductivity were lower than normal at nearly all key monitoring sites but remained within baseline ranges. Turbidity was near normal in Joe Wright Creek (JWC) but measured higher than normal at all key monitoring sites downstream.

The lowest pH and specific conductivity, and highest turbidity values across all sites were measured on May 12th, coinciding with a rapid rise in streamflow. Low pH and specific conductivity reflect typical spring dilution during high runoff flows, while elevated turbidity, which has trended higher since the Cameron Peak Fire, results from resuspended post-fire sediments during high flows. Accelerated snowmelt runoff in the 2025 spring season likely intensified these runoff-driven water quality trends. Additionally, sampling events often coincide with rapid rises in streamflow, potentially magnifying these results (Figure 5).

Nate Sievers, Watershed Technician with the City of Fort Collins, collecting water quality samples from the Mainstem Poudre River above Joe Wright Creek (PJW).

Spring 2025 Median

Maximum

Median

Minimum

Baseline data range based on long-term data record

2008 – 2012

Graphic Explanation

Canyon Mouth

Joe Wright Creek

Joe Wright Creek

Canyon Mouth

Figure 6 – Water quality indicator data collected at key monitoring sites over the 2025 spring monitoring season (April and May) compared to baseline spring water quality conditions.