## Instructions
2022 Fort Collins Utilities Distributed Energy Interconnection Application
Use this interconnection application for all distributed energy projects including solar PV, battery storage and other generation.
Indicates required fields throughout application
Complete all required fields on the Contact Information, System Information and the Signature pages.
Submit this application in Excel format, along with the following completed documents in one email to solar-rebates@fcgov.com:
System design documents (site plan, layout, one-line diagram, placard detail)
FALSE | Site Plan includes North arrow, location of the meter, AC disconnect, inverter, and arrays; fire setback distances on roof, any restricted access for components located indoors or behind locked gates
FALSE | PV System performance report including effects of any shading
FALSE | Shading analysis illustrating trees or other structures and production impacts, if system is shaded 9am - 3pm (from Aurora, Helioscope, or PVWatts)
FALSE | All DE system component spec sheets
FALSE | Residential Solar Fact Sheet - signed by customer
For Residential Solar Rebate Projects ONLY:
FALSE | SEIA Purchase or Lease Disclosure Form
FALSE | Installer final system contract with customer, including warranty and price
For Commercial Solar Rebate Projects ONLY:
FALSE | Installer final system installer invoice
o Project address is served by Fort Collins Utilities Light and Power
o Rebates are for new grid-tied installation with new equipment installed by a licensed contractor. No D-I-Y systems and no add-on equipment to already installed systems. Contractor must provide a minimum five year warranty and obtain proper construction permits prior to construction. (see California eligible equipment list, www.energy.ca.gov/programs-and-topics/topics/renewable-energy/solar-equipment-lists.)
o System must meet Utilities Interconnection Standards. Submit accurate and complete Required Documentation listed above.
o Installer must provide shading analysis if PV array is shaded between 9 a.m.-3 p.m.
o System must be installed within six months of rebate reservation.
o Consider an Efficiency Works™ Homes energy audit, especially if the home was built prior to January 1, 2005. See www.efficiencyworks.org/homes/ for details and to schedule an audit.
For Residential projects ONLY:
o Projects must be sold, designed and installed by active Participating Solar Contractors. See listing at fcgov.com/utilities/residential/renewables/solar-rebates
o Incentive rate may be reduced for systems generating less than 90% of optimal production.
o Residential system size allowed: minimum of 500 Watts up to 120% of average annual usage (Commercial system size between 500 Watts and 100kW)
o Step 1: Contractor completes this application and submits all required documents. Do not begin system installation without approval from Fort Collins Utilities.
o Step 2: Obtain building permit from Building Services fcgov.com/building/ Do not begin work without paid permit.
o Step 3: Install solar PV system within six months of the date the rebate reservation is issued.
o Step 4: Schedule and complete Final Building Inspection through Building Services.
o Step 5: Utilities tests system to validate proper system performance and leaves system ON.
o Step 6: Rebate payment will be issued by check approximately six weeks after successful Utilities system test and all rebate requirements are met.
o Project address is served by Fort Collins Utilities Light and Power.
o Incentives are for new grid-tied installation with new equipment installed by an active Participating Solar Contractor. D-I-Y systems are not eligible for incentive. Contractor must provide a minimum five year warranty and obtain proper construction permits prior to construction.
o System must meet Utilities Interconnection Standards. Submit accurate and complete Required Documentation listed above.
o Projects must be sold, designed and installed by active Participating Solar Contractors.
o The battery system must be programmed either for storing surplus solar energy to meet site loads or optimized to the Time-of-Day rate structure.
o See Battery Storage Program requirements for details. www.fcgov.com/utilities/residential-battery-storage-program
Interconnection Application Required Documentation
Project Eligibility Requirements for Solar PV Rebate
Steps to Participate in Solar Rebate Program
Eligibility Requirements for Battery Storage Program Incentive

## Contact Information
Distributed Energy Interconnection Application
Fort Collins Utilities may request a site visit at any time to confirm the accuracy of the project and reserves the right to determine the final eligibility and rebate amount for all projects.
Customer Name: | [7 empty] | Account Number:
| Number | Direction | Street Name | Suffix | Direction | Bldg | Unit |  | Number | Direction | Street Name | Suffix | Direction | Bldg | Unit
Customer Address: | [7 empty] | Project Address: (if different)
City, State, ZIP: | [7 empty] | City, State, ZIP: | Fort Collins |  |  | CO
Telephone:
E-mail: | [7 empty] | *Development Master: Project design #
* if project is part of an approved Master Development
If Property Owner is different than electric Customer, please complete the following:
Property Owner Name:
Property Owner Address:
City, State, Zip:
Telephone:
E-mail:
Installation Contractor: | [7 empty] | Project Contact Name:
Telephone: | [7 empty] | E-mail:
Design Contractor: | [7 empty] | Project Contact Name:
Telephone: | [7 empty] | E-mail:
Sales Contractor: | [7 empty] | Project Contact Name:
Telephone: | [7 empty] | E-mail:
Year Home Built
Project Notes: Provide details that affect PV system sizing: Electric Vehicle, New Construction, Recently Purchased, Remodeling, etc.
Submit this application or contact us with questions :
solar-rebates@fcgov.com
Fort Collins Utilities
Resource Conservation Solar Rebates
PO Box 580 |  |  |  |  | Phone: | 970-224-6157
Fort Collins, CO 80522 | [10 empty] | Application Version: |  |  |  | DE_2022.3_8/09/2022
Applicant Contact Information
Utilities Contact Information
Contractor Information

## System Information
Distributed Energy Interconnection Application
Estimated Start date: |  |  | Estimated Completion date:
Application date: |  |  | Applying for Solar Rebate? |  |  | (Yes/No)
Property Type: |  | (Res / Comm) | Ownership model: |  |  | (Owned, Leased, PPA)
Solar PV System | Total system size: |  | DC kW
| Total installed cost before rebate: |  | Dollars
| Array orientation | Azimuth | Tilt |  | Size (DC kW) | Estimated annual production (AC)
| Subarray 1 |  |  | degrees |  |  | kWh/yr
| Subarray 2 |  |  | degrees |  |  | kWh/yr
| Subarray 3 |  |  | degrees |  |  | kWh/yr
| Subarray 4 |  |  | degrees |  |  | kWh/yr
| Subarray 5 |  |  | degrees |  |  | kWh/yr
| Subarray 6 |  |  | degrees |  |  | kWh/yr
[6 empty] | 0 | Total AC kWh/yr
| Solar PV Inverter Type |  | (micro or string)
Count of inverters
Manufacturer
Model #
Model #
Model #
Estimated maximum solar incentive
Battery Storage | Battery Manufacturer
| Battery system type |  | AC or DC
Battery Model Name
Battery Model #
Count of batteries
| Total usable energy storage capacity |  | kWh (per manufacturer rating)
| System maximum sustained discharge rate |  | kW-AC
| System maximum sustained charge rate |  | kW-AC
Battery Inverter (if separate)
Battery Inverter Manufacturer
Battery Inverter Model #
| Requesting Battery Installation Incentive? |  | Pick one: (Yes/No)
| Estimated battery incentive | 0
Installation Information
Project Information

## Signature Page
Distributed Energy Interconnection Application
Solar Rebate Application - Certifications
Participant and Installer Certification Instructions
Installer must acknowledge interconnect and program requirements. Separately, Applicant (the Customer or Owner) must acknowledge the Net Metering Agreement. Applicant completes the Lawful Presence Affidavit and REC contract if seeking an incentive.
By entering a name below as an electronic signature, the solar contractor representative acknowledges and agrees that:
• The energy system represented in this application for parallel generation complies with Utilities requirements, and meets all applicable codes, standards, and regulatory requirements. • I certify as the installer or the installer's authorized representative that all the information contained within this application is true and factual. • I understand this is a sworn statement and making false, fictitious, or fraudulent representation in this application is punishable under criminal laws. • As the signatory, I have the authority to submit this application in relation to the terms and conditions listed above and as referenced elsewhere. • If applying for incentives, I acknowledge that l am aware of the Solar Rebate and Battery Program rules, and that compliance with such requirements, terms and conditions is a condition of any funding awarded.
I Accept the Terms and Conditions:
| Representative Name: |  |  |  | Date:
Title:
Agreement to terms of the Net Metering Agreement
By entering a name below as an electronic signature, the participating Customer/ Property Owner (Applicant) acknowledges and agrees:
• I have read and understand the Net Metering Agreement provided with this application.
• I understand this is a sworn statement and making false, fictitious, or fraudulent representation in this application is punishable under criminal laws.
• I certify that all the Applicant information contained within this application is true and factual.
• As the signatory, I further affirm I am the customer and/or property owner at the project premises described in this application and have the authority to submit this application in relation to the terms and conditions listed above and as referenced elsewhere.
• I accept the Net Metering Agreement Terms and Conditions.
• I affirm that I am familiar with net metering rates and credits as described on the Residential Solar Rebate web page.
| Applicant Name : |  |  |  | Date:
Agreement to terms of the Renewable Energy Credit Contract
By entering my name below as an electronic signature, I acknowledge and agree that:
• I have read and understand all Rebate Program rules, terms and conditions described on this application.
• I acknowledge that compliance with such requirements, terms and conditions is a condition of any funding awarded.
• I accept the REC Contract Terms and Conditions.
• As the signatory, I further affirm I am the customer and/or property owner at the premises described in this application and have the authority to submit this application in relation to the terms and conditions listed above and as referenced elsewhere.
As the Solar Rebate Program Applicant, I request that the rebate check be sent to:
(pick one: Customer, Property Owner, Third Party)
If rebate assigned to Third Party, complete the following:
Name of Third Party:
Street Address:
City / State / ZIP:
Tax ID:
| Applicant Name : |  |  |  | Date:
By entering my name below as an electronic signature, I acknowledge and agree that:
• I have read and understand all Battery Storage Program rules, terms and conditions described on this application.
• I acknowledge that compliance with such requirements, terms and conditions is a condition of any funding awarded.
• I affirm that the battery system will be programmed to operate typically in a 'solar storage' or Time of Use mode.
• As the signatory, I further affirm I am the customer and/or property owner at the premises described in this application and have the authority to submit this application in relation to the terms and conditions listed above and as referenced elsewhere.
As the Battery Installation Incentive Applicant, I agree to Program Rules and request that the incentive check be sent to:
(pick one: Customer, Property Owner, Third Party)
If incentive is assigned to Third Party, complete the following:
Name of Third Party:
Street Address:
City / State / ZIP:
Tax ID:
| Applicant Name : |  |  |  | Date:
Solar Contractor Certification (REQUIRED)
Interconnection Certification (REQUIRED)
For Solar Rebate ONLY:
Solar Rebate Program Certification
For Battery Installation Incentive ONLY:
Affirmation and assignment of incentive payment

## Net Metering Agreement
Interconnection and Net Metering Participation Agreement
For the Customer/Owner (Applicant) and site address as identified in this interconnection application
attached hereto, the Applicant agrees to the following terms and conditions:
WHEREAS, the Owner plans to install an electrical generator of a size smaller than one thousand
(1,000) Kilowatts described below (referred to hereafter as “Qualifying Facility”) at this service address
and operate it in parallel with the Fort Collins Utilities (Utilities) electric system; and
WHEREAS, Utilities has established net metering service, which is codified in Fort Collins Municipal Code,
in the applicable rate schedule section of Chapter 26; and
WHEREAS, the Utilities Executive Director may authorize operation of an electric generator or energy storage system in parallel with the Utilities electric system under the applicable net metering electric rate schedule.
NOW THEREFORE, it is agreed between the parties as follows:
1. General Terms and Conditions. Upon issuance by Utilities to the Owner of a “Permit to Operate”
Owner’s Qualifying Facility and based on continued compliance by the Applicant with parallel
operational requirements as currently exist and may be revised from time to time, and all other applicable
requirements and conditions for electric service, the Applicant is eligible to receive net metering service, under
the following terms and conditions:
A. Metering. A single billing meter, which records the Applicant’s net use of electricity, is installed and
maintained by Utilities.
B. Rates and billing. The Customer will be billed for net monthly electricity consumption under
the Utilities applicable rate as established in Chapter 26 of the Code of the City of Fort Collins. The
applicable rate is subject to change over the course of this Agreement at Utilities’ sole discretion.
The Customer will pay any and all applicable rates, fees and charges as required by Fort Collins
Municipal Code, as revised. Any net excess energy generation will be applied to the Customer’s
account on a monthly basis at the net metering rate established by the applicable rate schedule.
Billing arrangements and credits for net metering energy produced by the Customer shall be
applied consistent with the applicable provisions described in Chapter 26 of the Fort Collins
Municipal Code. Residential Net Metering rates are provided at fcgov.com/utilities/residential/rates/electric.
Commercial rates are provided at fcgov.com/utilities/business/manage-your-account/rates/electric.
C. Term and termination. The term of this Agreement begins on the date of the final Utilites field inspection
and continues until terminated as a result of one of the following conditions:
i. Owner permanently disconnects the Qualifying Facility from the Utilities electric
system. In order to accomplish such a disconnection, the Owner shall notify Utilities at least 30
days in advance of the disconnection date. Service and rate terms for the Customer shall upon said
disconnection revert to the applicable Utilities rates and regulations in effect at that time.
ii. Customer no longer receives electric service at the address referenced in this
Agreement in Owner's name. If the Owner no longer receives electric service, the
subsequent owner or new Owner will have the option, when arranging for electrical service
from Utilities, to apply for net metering service pursuant to the applicable Code provisions and, if
approved, sign a new interconnection agreement. The Owner identified on Contact Information page must notify
Utilities at least 30 days in advance of a decision to no longer receive electric service at the address
referenced in this Agreement. Any subsequent property owner or new Owner must not operate
the Qualifying Facility until the subsequent property owner or new Owner receives a Permit to
Operate from the Utilities.
iii. In the event Utilities determines this Agreement in any way presents a threat to the safety
and well being of the public or any person, presents a threat to the safe and reliable operation of
the electric system, or presents a kind of commercial or business operations concern of Utilities or
its service to Utilities Owners, Utilities reserves the right to terminate this Agreement upon thirty
(30) days’ advance written notice to Owner.
D. Location of System. The electric generation system will be installed within the Utilities service area at the
Owner’s premises physically located at or within easements benefiting the real property at the address provided.
The Owner must not relocate and connect the Qualifying Facility at another premises or physical location
without applying to do so and obtaining a “Permit to Operate”, or requesting modifications to this Agreement.
In the event that such approval is given by Utilities, the Owner shall bear all costs for relocation and installation
of the Qualifying Facility.
E. Data Access. Applicant grants Fort Collins Utilities permission to access and use customer data and
information produced or recorded by the electrical generation system, system components or sensors
installed to monitor it, including any energy storage system which may be integrated at Applicant’s premises.
This data includes energy production, consumption, storage charging and discharging, as well as
personally identifiable information. Applicant consents to access of this information by and provided to
Fort Collins Utilities and/or authorized third party vendors to Fort Collins Utilities. Use of such
information shall be subject to Fort Collins Utilities’ Privacy Policy and the Colorado Open Records Act.
Fort Collins Utilities' Privacy Policy: |  | https://www.fcgov.com/legal/privacy
Applicant expressly authorizes Fort Collins Utilities to use the manufacturer or vendor Application
Programming Interface (API) and/or web portal associated with any electrical generation or energy storage
devices integrated at Applicant’s premises to track and access, use and obtain data relating to device
operations. Applicant agrees to refrain from independently removing data through or on such API,
portal, or other monitoring means. Applicant agrees to maintain the Application License(s) associated with
Applicant’s generation and/or storage devices at all times while Applicant’s premises receives
Fort Collins Utilities services, and shall refrain from requesting such device(s) be disconnected
from any API during such time.
2. Parallel Operation Requirements. The Owner shall be responsible for the proper, safe and technically
sufficient installation, operation and maintenance of Owner’s Qualifying Facility and in accordance with
parallel operational requirements (otherwise known as “Interconnection Standards for Generating Facilities
Connected to the Fort Collins Distribution System”) as currently exist and may be revised from time to
time, and all other applicable requirements and conditions for electric service. Utilities reserves the right to
require Owner to immediately disconnect any such facility if Utilities determines that said facility may be
causing unintended or undesirable impacts on the Utilities electrical distribution system or related Utilities
facilities or if the City elects to revoke the “Permit to Operate” for any reason.
3. Statement Regarding Output Rating. Owner affirms that its Qualifying Facility combined with all
other electric generation facilities at the Owner’s single service address, either individually or
aggregated, have a combined maximum output rating of less than 1,000 kilowatts.
4. Liability:
(a) In no event shall Utilities be held responsible for the safety, reliability, design, or protection of the
Qualifying Facility.
(b) Nothing herein shall be construed to create any duty to, any standard of care with reference to, or any
liability to any third person other than Utilities and the Owner. Utilities is not liable for damages caused to the
facilities, improvements or equipment of the Owner by reason of the operation, faulty operation or nonoperation
of Utilities facilities.
(c) The Applicant shall be solely responsible for and shall defend, indemnify and hold Utilities harmless from
and against any and all claims or causes of action for personal injury, death, property damage, loss or
violation of governmental laws, regulations or orders, which injury, death, damage, loss or violations
occurs on or is caused by operation of equipment or facilities on the Applicant’s side of the point of
connection. Notwithstanding the above, the Applicant shall be solely responsible for and shall defend,
indemnify and hold harmless Utilities from and against any and all claims or causes of action for personal
injury, death, property damage or loss or violation of governmental laws, regulations or orders, wherever
occurring, which injury, death, damage, loss or violation is due solely to the acts of omissions of such
Applicant, including but not limited to the use of defective equipment or faulty installation or maintenance
or equipment by Applicant. However, nothing contained in this section shall be construed as relieving or
releasing either party from liability or personal injury, death, property damage or loss, or violation of
governmental laws, regulations or orders, wherever occurring, resulting from its own negligence or the
negligence of any of its officers, servants, agents or employees. In the event of concurrent negligence,
liability shall be apportioned between the parties according to each party’s respective fault. Neither the
Applicant nor Utilities shall be liable to the other or any other third party, in contract or in tort or otherwise, for
loss of use of equipment and related expenses, expense involving cost of capital, claims of Owners of
Utilities or the Applicant, as applicable, loss of profits or revenues, cost of purchase or replacement power, or
any indirect, incidental or consequential loss or damage whatsoever.
(d) The Owner shall pay all costs that may be incurred by Utilities in enforcing the indemnity described
herein. Each party’s liability to the other party for any loss, cost, claim, injury, liability, or expense,
including reasonable attorney’s fees, relating to or arising from any act or omission in its performance of
this agreement, shall be limited to the amount of direct damage actually incurred. In no event shall either
party be liable to the other party for any indirect, incidental, special, consequential, or punitive damages of
any kind whatsoever.
(e) The liability of Utilities is governed, limited and controlled by the Governmental Immunity Act, Colo.
Rev. Stat. Sec. 24-10-101, et seq., as now or hereafter amended. Nothing in this Agreement shall be
construed as a limitation or waiver of the immunities provided under said Act. The parties acknowledge
that this Agreement is intended to document the conditions and requirements to be met by Applicant and
Utilities, in order for Utilities to provide electric service and allow for parallel generation of power by Applicant,
as described herein, and that this Agreement is not intended to, and does not, impose upon Utilities any
obligations to Applicant except as expressly set forth in this Agreement or to give rise to any special
liabilities of Utilities for the benefit of Applicant, except for those obligations or liabilities that Utilities has as a
general matter to its electric utility customers. Neither Applicant nor Utilities shall be liable to the other or any
third party, in contract or in tort or otherwise, for loss of use of equipment and related expenses, expense
involving cost of capital, claims of Utilities or Applicant, as applicable, loss of profits or revenues,
cost of purchase or replacement power, or any indirect, incidental or consequential loss or damage
whatsoever. In no event shall either party be liable to the other party for any indirect, incidental, special,
consequential, or punitive damages of any kind whatever.
5. Insurance (for NON-RESIDENTIAL projects only)
(a) Owner, at their own expense, shall secure and maintain in effect during connection of any of its
Qualifying Facilities to the Utilities electric distribution system liability insurance with a combined single limit
for bodily injury and property damage of not less than one of the following as applicable:
$0 (Zero Dollars) if system size is less than 10kW OR
$300,000 (Three Hundred Thousand Dollars) if system size is between 10kW and 500kW OR
$2,000,000 (Two Million Dollars) if system size is larger than 500kW
per Utilities Interconnection Standards Sec. 9 for each occurrence. Such liability insurance shall not exclude
coverage for any incident related to the subject Qualifying Facility or its operation. Owner agrees that
Utilities shall be named as an "additional interest" under the liability policy.
(b) Any insurance policy required herein shall include that written notice be given to Utilities at least 30 days
prior to any cancellation or reduction of any coverage. Such liability insurance shall provide, by
endorsement to the policy, that Utilities shall not by reason of its inclusion as an "additional interest" incur
liability to the insurance carrier for the payment of premium of such insurance. Owner agrees to provide
a copy of the liability insurance certificate so it is received by Utilities prior to interconnection of or operation
of the Qualifying Facility. Utilities shall be permitted to periodically obtain proof of current insurance
coverage from the Owner in order to verify proper liability insurance coverage. The Owner will not
be allowed to commence or continue interconnected operations unless evidence is provided to Utilities that
satisfactory insurance coverage is in effect at all times.
Net Metering Interconnection Agreement revised 06/05/19

## REC Contract
Renewable Energy Credit (REC) Contract
REC Applicant–Sited Photovoltaic (PV) System
For the Customer/Owner (Applicant) and project Address as identified in this rebate and interconnection application and attached hereto, the Applicant agrees to the following terms and conditions:
1 | Purchase and Sale.
On the terms and subject to the conditions set forth in this Contract, the Applicant agrees to sell and UTILITIES agrees to purchase from Applicant the Renewable Energy Credits (“RECs”) generated by the photovoltaic solar system (the “PV system”) at the Address for a term of twenty (20) years beginning on the issuance date of the Permit to Operate.
2 | Purchase Price.
a. | The total price for the RECs shall be the price per watt DC of generating capacity up to the limits of the residential rebate program or $0.50 per watt DC of generating capacity up to the limits of the commercial rebate program as provided on the Solar Rebate Program website (www.fcgov.com/utilities).
b. | The rebate payment will be in exchange for receipts of all RECs generated by the PV system and valued according to performance against the optimal standard.
c. | The rebate is only paid once to the Applicant or their designee for the installation of new solar PV generating equipment and is limited by the maximum rebate amount established in the current rebate program rules.
3 | Representations. The signatories hereto individually and collectively make the following representations:
a. | They are individually authorized and competent to sign this Contract, and that they have read the Contract and agree to be bound by its terms.
b. | Applicant owns the PV system in the UTILITIES service territory at the Address set forth in the attached application, and whose primary business is not the generation of electricity for retail or wholesale from the same Address.
c. | The Applicant has installed a new PV system at the Address, which conforms to the specifications, tilt and orientation described in the rebate application attached hereto.
d. | The orientation of the PV system complies with the shade requirements of the rebate program.
4 | Terms and Conditions.
a. | The PV system equipment installed meets all applicable codes, standards, and regulatory requirements.
b. | The PV system shall be located at the Project Address at all times during the term of this Contract.
c. | The PV system complies with all nameplate DC output capacity requirements of the rebate program.
d. | Upon issuance by UTILITIES to the Owner of a “Permit to Operate”, the Term of this Contract shall be twenty (20) years beginning the date stated above. This Contract is assignable during this term by Applicant to any subsequent purchaser of Applicant’s premises, pursuant to section 4(r) below. UTILITIES shall purchase and own ALL RECs produced by the PV system during the Term of this Contract. The total of such RECs shall not be limited to the output used in calculating an associated rebate granted by UTILITIES.
e. | UTILITIES will issue a one-time REC payment in the form of a check (see Section 2 above), and arrange retirement of the purchased RECs within Utilities’ Service Territory. Upon request, UTILITIES will provide an affidavit, for systems larger than 20 kilowatts, of REC retirement on behalf of the Applicant, including applicable tracking system records, such that a Applicant may count the REC toward its renewable energy goals.
f. | Qualification for the REC payment does not imply any representation or warranty by UTILITIES of the design, installation or operation of the PV equipment, and UTILITIES expressly disclaims any and all warranties of the equipment as to workmanship, quality, or performance, including the fitness of the equipment for the purpose intended.
g. | UTILITIES shall not be responsible or liable for any personal injury or property damage caused by the PV system or any individual component of the system.
h. | Applicant shall indemnify, defend, and hold UTILITIES, its employees, agents, successors, assigns, subsidiaries and affiliates harmless against any and all claims, demands, liens, lawsuits, judgments or actions of whatsoever nature that may be brought on account of the installation, maintenance, operation, repair, or replacement of PV system or any equipment of the system.
i. | The Applicant shall maintain the PV system and the individual components of the system in good working order at all times during the Term of this Contract. If during the Term of this Contract the PV system or any of the individual components of the system should be damaged or destroyed, the Applicant shall promptly repair or replace the equipment to its original specifications, tilt and orientation as set forth in the rebate application, at the Applicant’s sole expense. Damages for breach of this provision of the Contract are limited to the repayment by Applicant of the pro-rata share of the rebate and REC payment made to Applicant under this Contract. For example, if the Applicant breaches this provision in the tenth year of the Contract Term, liquidated damages would equal one-half of the rebate and REC payment made under this Contract. Applicant is released from further liability under this Contract upon the payment of said liquidated damages to UTILITIES.
j. | This Contract and the terms contained in the Contract shall be binding and enforceable against the parties, their successors and assigns, for as long as the Contract remains in effect.
k. | If any disputes arise concerning this Contract, including but not limited to enforcement of any term or condition of the contract, the prevailing party in any action brought for the purpose of enforcing such provisions shall be entitled to recover its reasonable attorney fees, expenses, and costs of such action from the non-prevailing party.
l. | Failure of either party to enforce any term or condition of this Contract shall not constitute a waiver of that term or condition or of any other term or condition of this Contract.
m. | The parties agree that a cause of action for breach of any provision of this Contract shall not accrue until the non-breaching party actually discovers the breach.
n. | If any of the representations of the Applicant are false or incorrect, such false or incorrect representation shall, at the UTILITIES’ discretion, constitute a material breach of this Contract.
o. | This Contract shall be governed by and interpreted in accordance with the laws of the State of Colorado.
p. | UTILITIES may use the National Renewable Energy Lab’s PVWatts model to calculate the expected energy production from the proposed PV installation based on tilt angle and orientation of the solar panels in the event of a dispute. The Applicant is required to have used PVWatts or similar model acceptable to UTILITIES as a condition of the application for the rebate.
q. | This Agreement may be executed in two or more counterparts, each of which is deemed original but all constitute one and the same instrument. The Parties agree that an electronic or facsimile copy of a signature will be deemed original and binding.
r. | This Agreement shall be binding upon and inure to the benefit of the successors and assigns of the respective parties hereto. In order for an assignment to be effective, Applicant is required to provide to assignee the following documents: a written Assignment Agreement between the two parties, a copy of this Contract, a copy of the Net-Metering Interconnection Application, and any remaining warranty information. Applicant is released from any and all future liability under this Contract upon its assignment.
s. | By executing this Contract, Applicant grants to UTILITIES permission to share the location of the Applicant’s PV system and other information concerning the RECs sold to UTILITIES by Applicant under this Contract to others.
REC Contract revised 6/27/2022

## Admin Staff only (hidden)
Distributed Energy Incentive Application
Request for Payment
Submit upon project completion.
For Utilities use only: | 0
|  |  | Rebate Type: | RES
Rebate amount date: | 2022-06-01
Reviewed by: |  |  | Review Date:
Notes:
Site:
"Delivered"
| o System Final One-Line and PVWatts® estimate | o
| o System Serial Numbers | o
| o Final Building & Zoning Inspection | o
| o Utilities Functional Check and Permit to Operate | o
| o Signed Net Metering Agreement | o
| o Signed Solar REC Agreement | o | Final Cost
| o Installers Final Invoice and Statement of Warranty | o
| o Energy Audit Report | o
| o Rebate Assignment Requested (if applicable) | o
Auditor: |  |  | For Utilities use only:
Date of Audit: |  |  | PV FOM = | 0 | kWh/kW/year
|  |  | Cost FOM = | 0 | $/kW-DC
Installed System Size | 0 | kW-DC nameplate rated size
Rebate Eligible Size | 0 | Watts | Maximum: | 4000 | W for RES SF | 100000 | W for COMM
| Performance Estimate: | 0 | AC kWh/yr (e.g. PVWatts® annual produced)
| Estimated percentage of optimal: |  | "Optimal" is: | 1534 | kWh/kW
Derate factor:
| Residential Calculation: | 0 |  | RES_eligibility: | FALSE
| Commercial Calculation: | 0 |  | COMM_eligibility: | FALSE
| Solar Rebate Amount: |  | Dollars
For Utilities use only:
Solar Rebate Payment
OK to Pay Authorization: |  | Date:
Account Number: | 11110000.573070.9080.11110700.C | (11110700 Res, 11110800 Com'l)
Payee: | 0 |  | Rebate Amount: |  | Dollars
Name: | FALSE
Mailing Address: | FALSE
FALSE
Tax ID:
Battery Incentive Payment
OK to Pay Authorization: |  | Date:
Account Number: | 11110000.573070.9080.11110400.C
Payee: | 0 |  | Incentive Amount: | 0 | Dollars
Name: | FALSE
Mailing Address: | FALSE
FALSE
Payee Types | Array Ownership Options | Yes/No | Property Type |  | Prop_Type
Customer | Owned | Yes | Commercial |  | COMM
Property Owner | Leased | No | Residential Single-Family |  | RSF
Third Party | PPA |  | Residential Multi-Family |  | RMF
Address abbreviations |  | Residential Solar Incentive | [5 empty] | Commercial Solar Incentive
Direction | Suffix | 0.25 | $/watt-DC | rebate |  |  |  | 0.5 | $/watt-DC | rebate
E | Aly | 1000 | $/premises | rebate cap |  |  |  | 50000 | $/premises | rebate cap
N | Ave | 5522 | kWh/yr | minimum production for full rebate |  |  |  | 138060 | kWh/yr | minimum production for full rebate
NE | Blvd
NW | Bnd | Residential Rebate Schedule
S | Cir | Beginning date: | 2021-01-01 | 2021-02-01 | 2022-12-01
SE | Crse | Valid Until | 2021-01-31 | 2022-11-30 | 2023-11-30
SW | Ct | $/watt-DC | 0.5 | 0.25 | 0.15
W | Cv | $/premises | 1500 | 1000 | 750
Dr
Ln
| Lndg | Battery Incentive
| Loop | 100 | $/kWh | install incentive
| Ml | 1500 | per premises | incentive cap
Pkwy
| Pl | Battery Incentive Schedule
Pt
| Rd | Beginning date: | 2021-01-01 | 2021-02-01 | 2022-12-01
| Run | Valid Until | 2021-01-31 | 2022-11-30 | 2023-11-30
| Sq | $/kWh | 100 | 100 | 75
| St | $/premises | 1500 | 1500 | 1500
Ter
Trl
Way
Xing
Solar Rebate Request for Payment Checklist
Energy Audit Information
Final Installation Information and Rebate Calculation
Note on H60: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: update to new subledger